- SECTION 09 54 17

- TRANSLUCENT CEILING PANELS

- PART 1 - GENERAL

- 1.1  	RELATED DOCUMENTS

Drawings and general conditions of Contract, including General and Supplementary Conditions and Divisions-1 Specification sections apply to work of this section.

- 1.2	SUMMARY

A.	Section Includes:

1.	Translucent ceiling panels.

2.	Exposed grid suspension system.

3.	Wire hangers, fasteners, main runners, cross tees, and wall angle moldings.

B.	Related Sections:

1.   Section 09 51 00 (09510) – Acoustical Ceilings

2.   Section 09 20 00 (09250 – Plaster and Gypsum Board

3.   Division 23 (15) Sections – HVAC

4.   Division 26 (16) Sections - Electrical

C. 	Alternates

1.   Prior Approval: Unless otherwise provided for in the Contract documents, 	proposed product substitutions may be submitted no later than TEN (10) working days prior to the date established for receipt of bids.  Acceptability of a proposed 	substitution is contingent upon the Architect’s review of the proposal for 	acceptability and approved products will be set forth by the Addenda.  If included in a Bid are substitute products which have not been approved by Addenda, the specified products shall be provided without additional compensation.

2.   Submittals which do not provide adequate data for the product evaluation will not 	be considered.  The proposed substitution must meet all requirements of this 	section, including but not neccessarily limited to, the following: Single source 	materials suppliers (if specified in Section 1.5); Panel design, size, composition, color, and finish; Suspension system component profiles and sizes; Compliance with the referenced standards.

- 1.3	REFERENCES

A.	American Society for Testing and Materials (ASTM):

1.	ASTM A 641 Standard Specification for Zinc-Coated (Galvanized) Carbon Steel Wire.

- ASTM A 653 Standard Specification for Steel Sheet, Zinc-Coated (Galvanized) by the Hot-Dip Process.

- ASTM A 1008 “Standard Specification for Steel, Sheet, Cold Rolled, Carbon, Structural, High-Strength Low-Alloy and High-Strength Low-Alloy with Improved Formability”

4.	ASTM C 635 Standard Specification for Metal Suspension Systems for Acoustical Tile and Lay-in Panel Ceilings.

5.   ASTM C 636 Recommended Practice for Installation of Metal Ceiling Suspension Systems for Acoustical Tile and Lay-in Panels.

6.	ASTM E 1264 Classification for Acoustical Ceiling Products.

B.   National Fire Protection Agency (NFPA):

- NFPA 286: Standard Methods of Fire Tests for Evaluating Contribution of Wall and Ceiling Interior Finish to Room Fire Growth

- 1.4	SUBMITTALS

A.	Product Data:  Submit manufacturer’s technical data for each type of ceiling unit and suspension system required.

B.   	Samples:  Minimum 3 inch x 3 inch samples of specified translucent panel; 8 inch long samples of exposed wall molding and suspension system, including main runner and 4 foot cross tees.

D.	Shop Drawings:  Layout and details of ceilings.  Show locations of items which are to be coordinated with, or supported by the ceilings.

E.	Certifications:  Manufacturer’s certifications that products comply with specified requirements, including laboratory reports showing compliance with specified tests and standards.

- 1.5	QUALITY ASSURANCE

A.	Single-Source Responsibility:  Provide ceiling panel units and grid components by a single manufacturer.

B.	Fire Performance Characteristics:  The fire performance of Infusions Lay-In Panels meets the requirements for light transmitting plastics in Chapter 26 of the International Building Code.  Infusions panels have been tested according to NFPA 286 and are equivalent to Class A Interior Finish as defined in Chapter 8 of the International Building Code.

- Coordination of Work:  Coordinate ceiling work with installers of related work including, but not limited to building insulation, gypsum board, light fixtures, mechanical systems, electrical systems, and sprinklers.

- Infusions panels, as with other architectural features located at the ceiling, may obstruct or skew the planned fire sprinkler water distribution pattern, or possibly delay or accelerate the activation of the sprinkler or fire detection systems by channeling heat from a fire either toward or away from the device.  Designers and installers are advised to consult a fire protection engineer, NFPA 13, or their local codes for guidance where automatic fire detection and supression systems are present.

1.6	DELIVERY, STORAGE, AND HANDLING

- Deliver ceiling units to project site in original, unopened packages and store them in a fully enclosed space where they will be protected against damage from moisture, direct sunlight, surface contamination, and other causes.

- Plastic panels can be damaged by exposure to high temperatures.  Panel temperatures should not be permitted to exceed 100º F.

- Do not allow panel edges to get wet.

- Before installing ceiling units, permit them to reach room temperature and a stabilized moisture content.

- Handle ceiling units carefully to avoid chipping edges or damaging units in any way.

- 1.7	PROJECT CONDITIONS

A.	Space Enclosure:

Building areas to receive ceiling panels shall be free of construction dust and debris. Products can be installed up to 100°F (38°C) and in spaces before the building is enclosed, where HVAC systems are cycled or not operating. Cannot be used in exterior applications where standing water is present, or where moisture will come in direct contact with the panel.

- 1.8	WARRANTY

A.	Ceiling Panels:  Submit a written warranty executed by the manufacturer, agreeing to repair or replace panels that fail within the warranty period.  Failures include, but are not limited to:

- Ceiling Panels:  Manufacturer’s defects.

- Suspension System:  Rusting and manufacturer’s defects.

- B.	Warranty Period:

- 1.	Ceiling Panels:  One (1) year from date of substantial completion.

- 2.	Suspension System:  Ten (10) years from date of substantial completion.

- C.   The Warranty shall not deprive the Owner of other rights the Owner may have under other provisions of the Contract Documents and will be in addition to and run concurrent with other warranties made by the Contractor under the requirements of the Contract Documents.

1.9	MAINTENANCE

A.	Extra Materials:  Deliver extra materials to Owner.  Furnish extra materials described below that match products installed.  Packaged with protective covering for storage and identified with appropriate labels.

1.	Ceiling Units:  Furnish quality of full-size units equal to 5.0 percent of amount installed.

2.	Exposed Suspension System Components:  Furnish quantity of each exposed suspension component equal to 2.0 percent of amount installed.

- PART 2 - PRODUCTS

- 2.1	MANUFACTURERS

A.	Ceiling Panels:

1.	Armstrong World Industries, Inc.

B.	Suspension Systems:

1.	Armstrong World Industries, Inc.

- 2.2	ACOUSTICAL CEILING UNITS

A.	Acoustical Panels Type ACT-1:

1.   Surface Texture:  Smooth

2.	Composition:  Polycarbonate

3.	Color: (Color from drop down list on web – in database with 1 item #)

4.	Size:  Nominal 24 inches x 24 inches x 0.125 inches

5.	Edge Profile:  Square Edge Lay-In for interface with (Suspension System) grid.

6.	Fire Resistance:  (Feed from e-prod)

9.   Acceptable Product: (Product Family), (Item Number) as manufactured by Armstrong World Industries.

- 2.3	SUSPENSION SYSTEMS

A.	Components:  Main beams and cross tees, base metal and end detail, fabricated from commercial quality hot dipped galvanized steel complying with ASTM A 653.  Main beams and cross tees are double-web steel construction with (Flange) type exposed flange design.  Exposed surfaces chemically cleansed, capping prefinished galvanized steel in baked polyester paint.  Main beams and cross tees shall have rotary stitching.

1.	Structural Classification:  ASTM C 635 (Duty Class) duty.

2.	Color: (Grid Color selected on form) and match the actual color of the selected ceiling tile, unless noted otherwise.

3.  	Acceptable Product: (Product Family) as manufactured by Armstrong World Industries.

- Drop In only if using Environmental Grid

B.	High Humidity Finish:  Comply with ASTM C 635 requirements for Coating Classification for Severe Environment Performance where high humidity finishes are indicated.

1.	SS Prelude Plus by Armstrong World Industries - 100% Type 304STAINLESS Steel.

2.	AL Prelude Plus by Armstrong World Industries - all ALUMINUM

3.	Prelude Plus XL Fire Guard by Armstrong World Industries, G-60 Hot dipped galvanized /aluminum capping

4.	Structural Classification:  ASTM C 635 duty class.

5.	Color:  [polished stainless for SS only][White aluminum] [Clear Anodized Aluminum]

C.	Attachment Devices:  Size for five times design load indicated in ASTM C 635, Table 1, Direct Hung unless otherwise indicated.

D.	Wire for Hangers and Ties:  ASTM A 641, Class 1 zinc coating, soft temper, prestretched, with a yield stress load of at least time three design load, but not less than 12 gauge.

E.	Edge Moldings and Trim:  Metal or extruded aluminum of types and profiles indicated or, if not indicated, manufacturer’s standard moldings for edges and penetrations, including light fixtures, that fit type of edge detail and suspension system indicated.  Provide moldings with exposed flange of the same width as exposed runner.

- PART 3 - EXECUTION

- 3.1	EXAMINATION

A.	Do not proceed with installation until all wet work such as concrete, terrazzo, plastering and painting has been completed and thoroughly dried out, unless expressly permitted by manufacturer’s printed recommendations.  (Exception: HumiGuard Max Ceilings)

3.2	PREPARATION

A.	Measure each ceiling area and establish layout of units to balance border widths at opposite edges of each ceiling.  Avoid use of less than half width units at borders, and comply with reflected ceiling plans.  Coordinate panel layout with mechanical and electrical fixtures.

(DROP IN if “New Construction” is checked)

B.	Coordination:  Furnish layouts for preset inserts, clips, and other ceiling anchors whose installation is specified in other sections.

1.	Furnish concrete inserts and similar devices to other trades for installation well in advance of time needed for coordination of other work.

- 3.3	INSTALLATION

A.	Install suspension system and panels in accordance with the manufacturer’s installation instructions and in compliance with ASTM C 636 and with the authorities having jurisdiction.

B.	Suspend main beam from overhead construction with hanger wires spaced 4-0 on center along the length of the main runner.  Install hanger wires plumb and straight.

C.   With the exception of border treatment, cutting Infusions panels (ie. for penetrations) is not recommended.  Penetrations and cutouts may cause the panel to sag or bend in an irregular fashion.  Any fixtures used in panels must be independently supported.

D.   In order to avoid damage caused by exposure to high temperatures, minimum distance from standard light sources:

1.   Halogen FL XL PAR 30, 60 Watt – 14 inches

2.   Incandescent Bulb, 120 Watt – 15 inches

3.   Quartz Halogen Work Light, 500 Watt – 23 inches

E.	Install wall moldings at intersection of suspended ceiling and vertical surfaces.  Miter corners where wall moldings intersect or install corner caps.

F.	Install panels in coordination with suspended system, with edges resting on flanges of main runner and cross tees.  Cut and fit panels neatly against abutting surfaces.  Support edges by wall moldings.

- 3.4	ADJUSTING AND CLEANING

A.	Replace damaged and broken panels.

B.	Clean exposed surfaces of ceilings, including trim, edge moldings, and suspension members.  Comply with manufacturer’s instructions for cleaning and touch up of minor finish damage.  Remove and replace work that cannot be successfully cleaned and repaired to permanently eliminate evidence of damage.

- END OF SECTION