
[image: image1.png]NOVEL




SECTION 05750
Display hidden notes to specifier. (Don't know how? Click Here)

Decorative Elevator Door Clad Pattern Specifications
** NOTE TO SPECIFIER ** 
 .
 This section is based on the products of Novel Architectural Products., which is located at:
3425 NW 167th Street.  
Miami, FL 33056
Toll Free Tel: 866-623-0563
Tel: 305-623-0563
Web: www.novelamerica.com.



PART  1   GENERAL

1.1  
SECTION INCLUDES

** NOTE TO SPECIFIER **  Delete items below not required for project.

A. 
Patterned metal fabrications for the following applications:

1. 
Elevator Doors.

1.2  
RELATED SECTIONS

** NOTE TO SPECIFIER **  Delete section below if not relevant to this project; add others as required.

A. 
Section 05500 -  Metal Fabrications.

B. 
Section 05580 -  Formed Metal Fabrications.

C. 
Section 05700 -  Decorative Metal Fabrications.
D. 
Section 14200 - Elevators.

1.3  
REFERENCES

** NOTE TO SPECIFIER **  Delete references from the list below that are not actually required by the text of the edited section.

A. 
American Society for Testing and Materials (ASTM):  ASTM A 240 -Standard Specification for Chromium and Chromium-Nickel Stainless Steel Plate, Sheet, and Strip for Pressure Vessels and for General Applications.

B. 
American Society for Testing and Materials (ASTM):  ASTM E 84 - Standard Test Method for Surface Burning Characteristics of Building Materials.

C. 
National Association of Architectural Metal Manufacturers (NAAMM): NAAMM Metal Finishes Manual for Architectural and Metal Finishes.

1.4  
SUBMITTALS

A. 
Submit under provisions of Section 01300.

B. 
Product Data:  Manufacturer's data sheets on each product to be used, including:

1. 
Preparation instructions and recommendations.

2. 
Description of materials, finishes, and construction.

3. 
Storage and handling requirements and recommendations.

4. 
Installation methods.

5. 
Maintenance methods.

6. 
Cleaning methods.

C. 
Shop Drawings:  Submit shop drawings showing plans, sections, and elevations. Show edge conditions, attachment to other work, profiles and finishes of each metal member, and joinery to other metal members and to adjacent work. Show mounting types, heights, anchorage methods, and attachment devices.

D. 
Verification Samples:  For each finish product specified, two samples, minimum size 3 inches (76 mm) by 4 inches (101 mm) representing actual product, color, finish, and pattern.

1.5  
QUALITY ASSURANCE

** NOTE TO SPECIFIER **  Include a mock-up if the project size and/or quality warrant taking such a precaution.  The following is one example of how a mock-up on a large project might be specified.  When deciding on the extent of the mock-up, consider all the major different types of work on the project.

A. 
Mock-Up:
Provide a mock-up for evaluation of application workmanship.

1. 
Finish areas designated by Architect.

2. 
Do not proceed with remaining work until workmanship and materials are approved by Architect.

3. 
Refinish mock-up area as required to produce acceptable work.

1.6  
DELIVERY, STORAGE, AND HANDLING

A. 
Store products in accordance with manufacturer's requirements.

B. 
Store products in manufacturer's unopened packaging with labels intact until ready for installation.

1.7  
PROJECT CONDITIONS

A. 
Environmental Requirements:  Maintain environmental conditions (temperature, humidity, and ventilation) within limits recommended by manufacturer for optimum results.  Do not install products under environmental conditions outside manufacturer's absolute limits.

B. 
Existing Conditions:  Field measure to verify dimensions before fabrication.

PART  2   PRODUCTS

2.1  
MANUFACTURERS

A. 
Acceptable Manufacturer: Novel Architectural Products;  3425 NW 167th Street, Miami, Florida 33056, phone 866-623-0563 web: www.novelamerica.com

** NOTE TO SPECIFIER **  Delete one of the following two paragraphs; coordinate with requirements of Division 1 section on product options and substitutions.

B. 
Substitutions:  Not permitted.

C. 
Requests for substitutions will be considered in accordance with provisions of Section 01600.

** NOTE TO SPECIFIER **  Following are specifications for applications in their most popular metals, gauges and patterns. Additional material, material thickness, finish, texture and laminated thickness are available in many other combinations. Contact Novel Architectural Products for additional options and custom applications.

2.2  
APPLICATIONS

** NOTE TO SPECIFIER **   Novel Architectural Products supplies and manufactures decorative architectural metal and elevator doors.  Please contact Novel for names of installation companies of products manufactured from Novel Architectural Products.

A. 
Elevator  Doors:

1. 
Apply mechanical finish on fabricated work in the locations scheduled, with texture and reflectivity to match architects sample. Protect with PVC covering. Provide alloy with standard hardness required for fabrication, strength and durability:

** NOTE TO SPECIFIER **  Delete item (a.) or (b.) if not required.
a. 
Panel Facing:  Stainless Steel Type 304.

b.  
Panel Facing:  Muntz Metal 

2. 
Decorative Pattern: Pattern as manufactured by Novel Architectural Products;  3425 NW 167th Street, Miami, Florida 33056, phone 866-623-0563.
** NOTE TO SPECIFIER **  Delete one of two paragraphs below.

a. 
Refer to Room Finish Schedule for pattern.

** NOTE TO SPECIFIER **  Refer to pattern listing below. Insert pattern required.

b. 
Pattern: _______.
.

2.3  
MATERIALS

** NOTE TO SPECIFIER **  Delete stainless steel if not required.

A. 
Stainless Steel:  Provide patterned materials without blemishes, including seam and roller marks. Provide manufacturer's recommended alloy, strength, and thickness for application and finish indicated. Protect finish from damage during shipping, handling, storage, and installation with strippable film.

** NOTE TO SPECIFIER **  Consult manufacturer for available grades and their appropriateness for application. Below are examples only.

1. 
Grade: 304.

2. 
Grade: 316 (for added corrosion resistance).

** NOTE TO SPECIFIER **  Consult manufacturer for appropriate metal thickness. Coordinate thickness with sheet size, metal type, and application.

3. 
Thickness:
20 Gauge, .0375”.

** NOTE TO SPECIFIER **  Delete Muntz Metal if not required.

B. 
Muntz Metal:  Provide patterned materials without blemishes, including seam and roller marks. Provide manufacturer's recommended alloy, strength, and thickness for application and finish indicated. Protect finish from damage during shipping, handling, storage, and installation with strippable film.

** NOTE TO SPECIFIER **  Consult manufacturer for appropriate metal thickness. Coordinate thickness with sheet size, metal type, and application.

1. 
Thickness:  .040.

2.4  
FINISHES AND PATTERNS

** NOTE TO SPECIFIER **  . Patterns available in Stainless Steel and Muntz Metal.  Additional patterns, alloys and finishes are available upon request. Please select pattern, metal type, finish. Delete if not required.

A. 
Novel Architectural Products: Fabricate metal shapes in manufacturer's standard pattern as scheduled.

1. 
Pattern Name: SDP-001-1 Stainless Steel 
Finish Selection

a. 
Vertical Satin w/ Non-Directional Pattern
b. 
Non Directional w/ Vertical Satin Pattern
c.         Mirror w/ Non Directional Pattern
d.         Mirror w/ Vertical Satin Pattern
e.        Non Directional w/ Mirror Pattern

f.          Vertical Satin w/ Mirror Pattern

2. 
Pattern Name: SDP-002-1 Stainless Steel

Finish Selection
a. 

Vertical Satin w/ Non-Directional Pattern

b. 
Non Directional w/ Vertical Satin Pattern
c.         Mirror w/ Non Directional Pattern
d.         Mirror w/ Vertical Satin Pattern
e.        Non Directional w/ Mirror Pattern

f.          Vertical Satin w/ Mirror Pattern
3. 
Pattern Name: SDP-003-1 Stainless Steel

Finish Selection
a. 

Vertical Satin w/ Non-Directional Pattern

b. 
Non Directional w/ Vertical Satin Pattern
c.         Mirror w/ Non Directional Pattern
d.         Mirror w/ Vertical Satin Pattern
e.        Non Directional w/ Mirror Pattern

f.          Vertical Satin w/ Mirror Pattern
4. 
Pattern Name: SDP-004-1 Stainless Steel

Finish Selection
a. 

Vertical Satin w/ Non-Directional Pattern

b. 
Non Directional w/ Vertical Satin Pattern
c.         Mirror w/ Non Directional Pattern
d.         Mirror w/ Vertical Satin Pattern
e.        Non Directional w/ Mirror Pattern

f.          Vertical Satin w/ Mirror Pattern
5. 
Pattern Name: SDP-005-1 Stainless Steel

Finish Selection
a. 

Vertical Satin w/ Non-Directional Pattern

b. 
Non Directional w/ Vertical Satin Pattern
c.         Mirror w/ Non Directional Pattern
d.         Mirror w/ Vertical Satin Pattern
e.        Non Directional w/ Mirror Pattern

f.          Vertical Satin w/ Mirror Pattern
6. 
Pattern Name: SDP-006-1 Stainless Steel

Finish Selection
a. 

Vertical Satin w/ Non-Directional Pattern

b. 
Non Directional w/ Vertical Satin Pattern
c.         Mirror w/ Non Directional Pattern
d.         Mirror w/ Vertical Satin Pattern
e.        Non Directional w/ Mirror Pattern

f.          Vertical Satin w/ Mirror Pattern
7. 
Pattern Name: SDP-001-2 Muntz Metal

Finish Selection
a. 

Vertical Satin w/ Non-Directional Pattern

b. 
Non Directional w/ Vertical Satin Pattern
c.         Mirror w/ Non Directional Pattern
d.         Mirror w/ Vertical Satin Pattern
e.        Non Directional w/ Mirror Pattern

f.          Vertical Satin w/ Mirror Pattern
8. 
Pattern Name: SDP-002-2 Muntz Metal

Finish Selection
a. 

Vertical Satin w/ Non-Directional Pattern

b. 
Non Directional w/ Vertical Satin Pattern
c.         Mirror w/ Non Directional Pattern
d.         Mirror w/ Vertical Satin Pattern
e.        Non Directional w/ Mirror Pattern

f.          Vertical Satin w/ Mirror Pattern
9. 
Pattern Name: SDP-003-2 Muntz Metal

Finish Selection
a. 

Vertical Satin w/ Non-Directional Pattern

b. 
Non Directional w/ Vertical Satin Pattern
c.         Mirror w/ Non Directional Pattern
d.         Mirror w/ Vertical Satin Pattern
e.        Non Directional w/ Mirror Pattern

f.          Vertical Satin w/ Mirror Pattern
10. 
Pattern Name: SDP-004-2 Muntz Metal

Finish Selection
a. 

Vertical Satin w/ Non-Directional Pattern

b. 
Non Directional w/ Vertical Satin Pattern
c.         Mirror w/ Non Directional Pattern
d.         Mirror w/ Vertical Satin Pattern
e.        Non Directional w/ Mirror Pattern

f.          Vertical Satin w/ Mirror Pattern
11. 
Pattern Name: SDP-005-2 Muntz Metal

Finish Selection
a. 

Vertical Satin w/ Non-Directional Pattern

b. 
Non Directional w/ Vertical Satin Pattern
c.         Mirror w/ Non Directional Pattern
d.         Mirror w/ Vertical Satin Pattern
e.        Non Directional w/ Mirror Pattern

f.          Vertical Satin w/ Mirror Pattern
12. 
Pattern Name: SDP-006-2 Muntz Metal

Finish Selection
a. 

Vertical Satin w/ Non-Directional Pattern

b. 
Non Directional w/ Vertical Satin Pattern
c.         Mirror w/ Non Directional Pattern
d.         Mirror w/ Vertical Satin Pattern
e.        Non Directional w/ Mirror Pattern

f.          Vertical Satin w/ Mirror Pattern
PART 3  EXECUTION
3.1
EXAMINATION

A. 
Do not begin installation until substrates have been properly prepared.

B. 
If substrate preparation is the responsibility of another installer, notify Architect of unsatisfactory preparation before proceeding.

3.2
PREPARATION

C. 
Prepare surfaces using the methods recommended by the manufacturer for achieving the best result for the substrate under the project conditions.

3.3
INSTALLATION

D. 
Install in accordance with manufacturer's instructions.

E. 
Install ornamental formed metal materials plumb, square, and rigidly coupled and adequately anchored, maintaining uniformed clearances and accurate alignment.

F. 
Restore damaged finishes that require field cutting, welding, or grinding.

3.4
PROTECTION

G. 
Protect installed products until completion of project.

H. 
Touch-up, repair, or replace damaged products before Substantial Completion.

I. 
Restore manufacturer's protective films and coverings damaged during installation.

END OF SECTION

05750-1 

