Armstrong World Industries

Ceiling & Suspension Systems Specification

| Job Number: |  | E-mail Address: |  |
| --- | --- | --- | --- |
| Job Type: |  | Zip Code: |  |
| Project Name: |  | Date & Time: |  |
| Firm Name: |  | Rep Name: |  |
| Contact Name: |  | Rep Phone: | 877 276 7876, ext. |

Please understand that you are responsible for the accuracy of all project specifications, including any Armstrong guide specifications that you use.  ARMSTRONG SHALL NOT BE LIABLE FOR ANY DAMAGES ARISING OUT OF THE USE OF ANY OF ITS GUIDE SPECIFICATIONS.

# Consult your local Armstrong Architectural Specialty Representative or A/S Project Management Team prior to specifying any custom wood system.  Material, veneer, size and perforation options will affect feasibility of custom designs and should always be reviewed by Armstrong prior to releasing contract documents for bidding.

### SECTION [09 54 29 (09545)]   [06 42 17 (06424))

### WOOD PANEL CEILINGS

### PART 1 - GENERAL

### 1.1 RELATED DOCUMENTS

Drawings and general conditions of Contract, including General and Supplementary Conditions and Divisions-1 Specification sections apply to work of this section.

### 1.2 SUMMARY

- Section Includes:

  - Wood veneer ceiling panels.

  - Exposed grid suspension system.

  - Wire hangers, fasteners, main runners, cross tees, wall angle moldings and accessories.

- Related Sections:

  - Section 06 42 00 (06420) Wood Paneling

  - Section 09 51 00 (09510) - Acoustical Ceilings

  - Section 09 20 00 (09250) - Plaster and Gypsum Board

  - Divisions 23 (15) - HVAC

  - Division 26 (16) Sections - Electrical Work

- Alternates

  - Prior Approval: Unless otherwise provided for in the Contract documents, proposed product substitutions may be submitted no later than TEN (10) working days prior to the date established for receipt of bids. Acceptability of a proposed substitution is contingent upon the Architect’s review of the proposal for acceptability and approved products will be set forth by the Addenda. If included in a Bid are substitute products which have not been approved by Addenda, the specified products shall be provided without additional compensation.

  - Submittals which do not provide adequate data for the product evaluation will not be considered. The proposed substitution must meet all requirements of this section, including but not necessarily limited to, the following: Single source materials suppliers (if specified in Section 1.5); panel design, size, composition, color, and finish; suspension system component profiles and sizes; compliance with the referenced standards.

### 1.3 REFERENCES

- American Society for Testing and Materials (ASTM):

  - ASTM A 641 Standard Specification for Zinc-Coated (Galvanized) Carbon Steel Wire.

  - ASTM A 653 Standard Specification for Steel Sheet, Zinc-Coated (Galvanized) by the Hot- Dip Process.

  - ASTM A 1008 Standard Specification for Steel, Sheet, Cold Rolled, Carbon, Structural, High-Strength Low-Alloy and High-Strength Low-Alloy with Improved Formability.

  - ASTM C 423 Sound Absorption and Sound Absorption Coefficients by the Reverberation Room Method.

  - ASTM C 635 Standard Specification for Metal Suspension Systems for Acoustical Tile and Lay-in Panel Ceilings.

  - ASTM E 84 Standard Test Method for Surface Burning Characteristics of Building Materials.

  - ASTM E 580 Application of Ceiling Suspension Systems for Acoustical Tile and Lay-In Panels in Areas Requiring Seismic Restraint.

  - ASTM E 1414 Standard Test Method for Airborne Sound Attenuation Between Rooms Sharing a Common Ceiling Plenum.

B.    International Code Council Evaluation Service

AC156 - Acceptance Criteria for Seismic Qualification Testing of Non-structural Components

### 1.4 SUBMITTALS

- Product Data: Submit manufacturer’s technical data for each type of ceiling unit and suspension system required.

- Installation Instructions: Submit manufacturer’s installation instructions as referenced in Part 3, Installation.

- Samples: Minimum 8-3/8 inch x 11-1/2 inch samples of specified panel; 8 inch long samples of exposed wall molding and suspension system.

- Shop Drawings:  Submit manufacturer’s shop drawings as referenced in Part 3, Installation

- Certifications: Manufacturer’s certifications that products comply with specified requirements, including laboratory reports showing compliance with specified tests and standards.

### 1.5 QUALITY ASSURANCE

- Single-Source Responsibility: Provide ceiling panel units and grid components by a single manufacturer.

- Fire Performance Characteristics: Identify ceiling components with appropriate markings of applicable testing and inspecting organization.

  - Surface Burning Characteristics: Tested per ASTM E 84:

    - Flame Spread: 25 or less

- Woodworking Standards: Manufacturer must comply with specified provisions of Architectural Woodworking Institute quality standards.

- Seismic Performance:  System seismic performance verified through full-scale testing in accordance with ICC-ES – AC-156 Acceptance Criteria for Seismic Qualification Testing of Non-Structural components.

- Coordination of Work: Coordinate ceiling work with installers of related work including, but not limited to building insulation, gypsum board, light fixtures, mechanical systems, electrical systems, and sprinklers.

### 1.6 DELIVERY, STORAGE, AND HANDLING

- Store ceiling components in a dry interior location in their cartons prior to installation to avoid damage. Store cartons in a flat, horizontal position. The protectors between the panels should not be removed until installation.

- Do not store in unconditioned spaces with humidity greater than 55 percent or lower than 25 percent relative humidity and temperatures lower than 50 degrees F or greater than 86 degrees F. Panels must not be exposed to extreme temperatures, for example, close to a heating source or near a window with direct sunlight.

- Handle ceiling units carefully to avoid chipped edges or damage to units in any way.

### 1.7 PROJECT CONDITIONS

- Wood veneer ceiling materials should be permitted to reach room temperature and have a stabilized moisture content for a minimum of 72 hours before installation. (Remove plastic wrap to allow panels to climatize).

- The wood veneer panels should not be installed in spaces where the temperature or humidity conditions vary greatly from the temperatures and conditions that will be normal in the occupied space.

- As interior finish products, the wood veneer panels are designed for installation in temperature conditions between 50 degrees F and 86 degrees F, in spaces where the building is enclosed and HVAC systems are functioning and will be in continuous operation. Relative humidity should not fall below 25 percent or exceed 55 percent.

### 1.8 WARRANTY

- Wood Veneer Panel: Submit a written warranty executed by the manufacturer, agreeing to repair or replace panels that fail within the warranty period. Failures include, but are not limited to:

  - Defects in materials or factory workmanship.

- Warranty Period:

  - Wood Veneer Panel System: One (1) year from date of installation.

- The Warranty shall not deprive the Owner of other rights the Owner may have under other provisions of the Contract Documents and will be in addition to and run concurrent with other warranties made by the Contractor under the requirements of the Contract Documents.

- Purpose and Limitations:

This information/data is provided by the manufacturer to better describe the product(s) and/or subject installation, solely for further evaluation by the Specifier.  The Manufacturer makes no representations, nor provides any warranty for the data provided except to the extent where it is applicable that it was prepared by an independent licensed professional engineer.  This information is not provided in lieu of the separate and independent evaluation and determination of suitability of these materials for the subject installation that is the responsibility of the specifier of their agents.

### 1.9 MAINTENANCE

- Extra Materials: Deliver extra materials to Owner. Furnish extra materials described below that match products installed. Packaged with protective covering for storage and identified with appropriate labels.

  - Ceiling Units: Furnish quality of full-size units equal to 2.0 percent of amount installed.

  - Exposed Suspension System Components: Furnish quantity of each exposed suspension component equal to 1.0 percent of amount installed.

### PART 2 - PRODUCTS

### 2.1 MANUFACTURER

- Suspension System:

  - Armstrong World Industries, Inc.

- Ceiling Panels:

  - Armstrong World Industries, Inc.

### 2.2.0 SUSPENSION SYSTEM

- Suspension System:  WPC-1

- Product:  WoodWorks (Flat) (Curved) Access (Hook-On) Suspension System

- Components:  H-bar sections shall be commercial-quality extruded aluminum.  Exposed surfaces chemically cleansed.  H-bars shall be suspended from Primary Angle BPM311.051.

  - BPM311.156 Hanger for H-profile.

  - BPM311.017 Connector for H-profile used to form continuous Hook-on H-bar members.

  - 10” Rail Hook mounted on panel.

- Finish:  All steel parts shall be chemically cleansed hot dipped galvanized steel.

1.    Wall Molding Color:  To be selected from manufacturer’s standard offering.

- Hanger Wire: Hanger wire shall be galvanized carbon steel per ASTM A 641, soft temper, pre-stretched, with a yield stress load of at least three (3) times design load, but not less than 12 gauge (0.106") diameter.

### 2.2.0 WOOD VENEER CEILING UNITS

A.    Wood Panels:  Type WPC-1

1.    Type:  WoodWorks (Unperforated) (Perforated) Wood Veneer Ceiling Panels

2.     Plenum Access:  Full downward access.

3.	Surface Texture:  Smooth

4.     Substrate:  Duraflake FR, Class A rated fire-retardant particleboard.

5.     Size and Shape:  Trapezoidal panels according to architectural drawings

6.     Surface Finish:

a.   Grade: (B) (A) (AA)

b.   Veneer Species:  (as selected by architect)

c.   Cut:  (as selected by architect)

d.  Veneer match: (as selected by architect)

e.  Stain:  (as selected by architect)

7.    Perforations:

    - Pattern #:

    - Hole size:

    - On center spacing:

    - % Open area:

8.     Flame Spread:  Class A per IBC

9.     Edge Detail:  Square cut edge for installation on WoodWorks (Flat) (Curved) Hook-on suspension system.

10.	Joint Gaskets: Joints are gasketed with a 6mm gasket.

11.	Acceptable Product:  WoodWorks Radial System, as manufactured by Armstrong World Industries.

- Accessories:

  - Cutouts and apertures available – They are intended for use with audio speakers, air diffusers, flexible head sprinklers and certain light fixtures.  They are not intended for use with smoke detectors.

2.    Edge Banding for field-modified panels:  Pre-finished pressure sensitive adhesive banding is available 15/16 inch wide and in 50 foot lengths. Standard veneers are cherry, maple and anigre (steamed beech).

### PART 3 - EXECUTION

### 3.1 EXAMINATION

- Do not proceed with installation until all wet work such as concrete, terrazzo, plastering and painting has been completed and thoroughly dried out.

- Proper design for both supply air and return air, maintenance of the HVAC filters and building interior space are essential to minimize soiling. Before starting the HVAC system, make sure supply air is properly filtered and the building interior is free of construction dust.

### 3.2 PREPARATION

- Examine construction and conditions under which the system will be installed.  Do not proceed with installation until unsatisfactory conditions have been corrected.  Coordinate panel layout with mechanical and electrical fixtures.

### 3.3 INSTALLATION

- Install suspension system and panels in compliance with ASTM C636, with the authorities having jurisdiction, and in accordance with the manufacturer’s shop drawings and installation instructions.

  - WoodWorks Access Hook-On System Installation Instructions, LA-295834.

### 3.4 ADJUSTING AND CLEANING

- Replace damaged and broken panels.

- Clean exposed surfaces of ceilings panels, including trim, edge moldings, and suspension members. Comply with manufacturer’s instructions for cleaning and touch up of minor finish damage. Remove and replace work that cannot be successfully cleaned and repaired to permanently eliminate evidence of damage.

### END OF SECTION