GYPSUM CEMENT UNDERLAYMENT

RECOMMENDED SPECIFICATION FOR DURA-CAP FLOOR UNDERLAYMENT OVER ACOUSTI-MAT II SOUND DEADENING PAD IN HARD SURFACE AREAS IN MULTIFAMILY HOUSING

PART 1	GENERAL

1.01		SUMMARY

- This is the recommended specification for Dura-Cap Floor Underlayment over Acousti-Mat II sound deadening pad in hard surface areas in multifamily housing.

1.02			SECTION INCLUDES

- Dura-Cap gypsum cement

- Acousti-Mat II

- Maxxon® Crack Suppression Mat (CSM)

- Maxxon Floor Primer

- Maxxon Overspray

1.03			QUALITY ASSURANCE

- Dura-Cap Installer's Qualifications:  Installation of Dura-Cap shall be by an applicator authorized by the Maxxon Corporation using Maxxon approved mixing and pumping equipment.

- Acousti-Mat II Installer's Qualifications:  Installation of Acousti-Mat II shall be by an applicator authorized by the Maxxon Corporation.

1.04		DELIVERY, STORAGE AND HANDLING

- General Requirements:  Materials shall be delivered in their original, unopened packages, and protected from exposure to the elements.  Damaged or deteriorated materials shall be removed from the premises.

1.05		SITE CONDITIONS

- Environmental Requirements:  Before, during and after installation of Dura-Cap and 
Acousti-Mat II, building interior shall be enclosed and maintained at a temperature above 50 degrees F (10 degrees C).

PART 2	PRODUCTS

2.01		MATERIALS

- Gypsum Cement: Floor underlayment Dura-Cap gypsum cement as manufactured by the Maxxon Corporation, Hamel, MN.  All others must receive prior approval.

- Sound Deadening Pad:  Acousti-Mat II as manufactured by the Maxxon Corporation, Hamel, MN.

- Reinforcement Mesh:  Maxxon Crack Suppression Mat (CSM) or 3.4 lbs./sq. yd. galvanized metal lath.

- Sand Aggregate:  Sand shall be 1/8 inch (3 mm) or less, washed masonry or plaster sand, meeting requirements of Maxxon Corporation Sand Specifications 101.

- Mix Water:  Potable, free from impurities

- Subfloor Primer:  Maxxon Floor Primer

- Sealer:  Maxxon Overspray

2.02		MIX DESIGNS

- General Requirements:  Mix proportions and methods shall be in strict accordance with product manufacturer recommendations.

PART 3	EXECUTION

3.01	PREPARATION

- Condition and Cleaning of Subfloor:  Subfloor shall be structurally sound.  General Contractor shall clean subfloor to remove mud, oil, grease, and other contaminating factors before the arrival of the Dura-Cap crew.

- Leak Prevention:  Fill cracks and voids with a quick setting patching or caulking material where leakage of Dura-Cap could occur.

- Expansion Joints:  Allow joints to continue through the Dura-Cap at the same width.

- Transition Areas:  The general contractor shall install bulk heads in all the areas where the Acousti-Mat II system stops and meets the carpet and pad areas.  The height of the bulk head will depend on the total thickness of the Dura-Cap and Acousti-Mat II.  The typical height of the bulk heads will be 1 ¼” (31 mm).

3.02	APPLICATION OF ACOUSTI-MAT II

- Acousti-Mat II Installations:  Install Acousti-Mat II following manufacturer’s recommendations and specifications.

3.03	APPLICATION OF CEMENTITIOUS FLOORING

- Scheduling:  Application of Dura-Cap shall not begin until the building is enclosed, including roof, windows, doors, and other fenestration.  Install after drywall installation unless tenant finish requirements identify partitioning after the pour.  If Acousti-Mat II is to be installed before drywall, then Maxxon Crack Suppression Mat (CSM) or 3.4 lbs./sq. yd. galvanized metal lath must be loose laid over the entire Acousti-Mat II surface.  Schedule the Acousti-Mat II sound control system as late as possible in the construction cycle.

- Priming Acousti-Mat II:  Prime Acousti-Mat II or Maxxon CSM using the Maxxon Floor Primer to bond the   Dura-Cap to the pad.

- Application:  Place Dura-Cap a minimum 1 inch (25 mm) thick over Acousti-Mat II.  Place Dura-Cap at ¾” (19 mm) over the subfloor in all carpet and pad areas.  Spread and screed 
Dura-Cap to a smooth surface.

- Drying:  General Contractor shall provide continuous ventilation and adequate heat to rapidly remove moisture from the area until the Dura-Cap is dry.  General Contractor shall provide mechanical ventilation if necessary.  Under the above conditions, for 1 inch thick Dura-Cap, 7-10 days is usually adequate drying time.  To test for dryness, tape a 24 inch by 24 inch (609 mm by 609 mm) section of plastic or a high density rubber mat to the surface of the underlayment.  After 48-72 hours, if no condensation occurs, the underlayment shall be considered dry.  Perform dryness test 5-7 days after pour.

3.04	PREPARATION FOR INSTALLATION OF GLUE DOWN FLOOR GOODS

- Sealing:  Seal all areas that receive glue down floor goods with Maxxon Overspray according to the Maxxon Corporation's specifications.  Any floor areas where the surface has been damaged shall be cleaned and sealed regardless of floor covering to be used.  Where floor goods manufacturers require special adhesive or installation systems, their requirements supersede these recommendations.

- Floor Goods Procedures:  See the Maxxon Corporation's "Procedures for Attaching Finished Floor Goods to Maxxon Underlayments" brochure for guidelines for installing finished floor goods.  This procedure is not a warranty and is to be used as a guideline only.

3.05	FIELD QUALITY CONTROL

- Slump Test:  Dura-Cap mix shall be tested for slump as it's being pumped using a 2 inch by 4 inch (50 mm by 101 mm) cylinder resulting in a patty size of 8 inches (203 mm) plus or minus 1 inch (25 mm) diameter.

- Field Samples:  At least one set of 3 molded cube samples shall be taken from each day's pour during the Dura-Cap application.  Cubes shall be tested as recommended by the Maxxon Corporation in accordance with modified ASTM C 472.  Test results shall be available to architect and/or contractor upon request from applicator.

3.06	PROTECTION

- Protection From Heavy Loads:  During construction, place temporary wood planking over 
Dura-Cap wherever it will be subject to heavy wheeled or concentrated loads.

END OF SECTION