SELF-LEVELING CEMENTITIOUS TOPPING
RECOMMENDED SPECIFICATION FOR LEVEL-RIGHT( WEARTOP OVER
ACOUSTI-MAT( LPR SOUND DEADENING PAD OVER CONCRETE

PART 1
GENERAL

1.01

SUMMARY

A. This is the recommended specification for Level-Right WearTop over Acousti-Mat LPR sound deadening pad over concrete.

1.02


SECTION INCLUDES

A. Level-Right WearTop 
B. Acousti-Mat LPR (Low Profile with Reinforcement)
C. Acousti-Mat LPR Adhesive
D. Maxxon WearTop Curing Agent
E. Pioneer Eclipse Hard Floor Sealer & Envirostar Green Satin Top Coat
1.03


QUALITY ASSURANCE

A. Level-Right WearTop Installer's Qualifications:  Installation of Level-Right WearTop shall be by an applicator authorized by the Maxxon Corporation using Maxxon approved mixing and pumping equipment.

B. Acousti-Mat LPR Installer's Qualifications:  Installation of Acousti-Mat LPR shall be by an applicator authorized by the Maxxon Corporation.

1.04

DELIVERY, STORAGE AND HANDLING

A. General Requirements:  Materials shall be delivered in their original, unopened packages, and protected from exposure to the elements.  Damaged or deteriorated materials shall be removed from the premises.

1.05

SITE CONDITIONS

A. Environmental Requirements:  Before, during and after installation of Level-Right WearTop and Acousti-Mat LPR building interior shall be enclosed and maintained at a temperature above 50 degrees F (10 degrees C).

PART 2
PRODUCTS

2.01

MATERIALS

A. Underlayment: Recommended Level-Right WearTop as manufactured by the Maxxon Corporation, Hamel, MN

B. Sound Deadening Pad:  Acousti-Mat LPR as manufactured by the Maxxon Corporation, Hamel, MN
C. Sand Aggregate:  Sand shall be 1/8 inch (3 mm) or less, washed masonry or plaster sand, meeting requirements of Maxxon Corporation Sand Specifications 101
D. Mix Water:  Potable, free from impurities

E. Adhesive:  Acousti-Mat LPR Adhesive as manufactured by the Maxxon Corporation, Hamel, MN
F. Sealer:  Maxxon WearTop Curing Agent
G. Wax:  Pioneer Eclipse Hard Floor Sealer and Envirostar Green Satin Top Coat
2.02

MIX DESIGNS

A. General Requirements:  Mix proportions and methods shall be in strict accordance with product manufacturer recommendations.

PART 3
EXECUTION

3.01
PREPARATION

A. Condition and Cleaning of Subfloor:  Subfloor shall be structurally sound.  General Contractor shall clean subfloor to remove mud, oil, grease, and other contaminating factors before the arrival of the Level-Right WearTop and Acousti-Mat LPR crew.

B. Leak Prevention:  Fill cracks and voids with a quick setting patching or caulking material where leakage of adhesive could occur.

C. Expansion Joints:  Allow joints to continue through the Level-Right WearTop at the same width.

3.02 APPLICATION OF ACOUSTI-MAT LPR. 

A. Acousti-Mat LPR Installation:  Install Acousti-Mat LPR following manufacturer’s recommendations and specifications.

3.03
APPLICATION OF SELF-LEVELING FLOORING

A. Scheduling:  Application of Level-Right WearTop and Acousti-Mat LPR shall not begin until the building is enclosed, including roof, windows, doors, and other fenestration.  Install after drywall installation unless tenant finish requirements identify partitioning after the pour. 
B. Application:  Place the recommended Level-Right WearTop a nominal 3/8 inch to 1/2 inch (8mm) thick over Acousti-Mat LPR.  Spread and screed Level-Right WearTop to a smooth surface
C. Sanding for Burnished, Marble Look:  Buff sand the WearTop surface the day after the pour with a traditional floor buffing machine using an 80, 100 or 120 mesh screen to desired look. After the surface is screen sanded and broomed, use a tack rag or dry Swiffer mop to remove dust.

D. Curing and Sealing:  Level-Right WearTop is to be coated with at least 2 coats of Maxxon approved sealer such as Maxxon WearTop Curing Agent within 24 hours after installation except when an epoxy or other floor coverings will be installed.

E. Wax:  Apply wax after the WearTop Curing Agent is dry using 2 coats of Pioneer Eclipse Hard Floor Sealer followed by 2 coats of Envirostar Green Satin Top Coat.  Follow manufacturer’s instructions on the label.

F. Drying:  General Contractor shall provide continuous ventilation and adequate heat until 
Level-Right WearTop is fully cured.

3.04
PREPARATION FOR INSTALLATION OF GLUE DOWN FLOOR GOODS

A. Floor Goods Procedures:  See the Maxxon Corporation's "Procedures for Attaching Finished Floor Goods to Maxxon Underlayments" brochure for guidelines for installing finished floor goods.  This procedure is not a warranty and is to be used as a guideline only.

3.05
FIELD QUALITY CONTROL

A. Slump Test:   Level-Right WearTop mix shall be tested for slump as it's being pumped using a 2 inch by 4 inch (50 mm by 101 mm) cylinder resulting in a patty size of 9 1/2 inches (241 mm) plus or minus 1 inch (25 mm) diameter.

B. Field Samples:  At least one set of 3 molded cube samples shall be taken from each day's pour during the Level-Right WearTop application.  Cubes shall be tested as recommended by the Maxxon Corporation in accordance with modified ASTM C 109.  Test results shall be available to architect and/or contractor upon request from applicator.

3.06
PROTECTION

A. Protection From Heavy Loads:  During construction, place temporary wood planking over 
 Level-Right WearTop wherever it will be subject to heavy wheeled or concentrated loads.

END OF SECTION


