	[image: image1.jpg]N HICKMAN

THE | EADING EDGE®SINCE 1945




	P.O. Box 15005

Asheville, NC 28813

Phone: (828) 676-1700
Fax: (828) 676-2330
Web: www.wph.com



SECTION 07710

SHADOWLINE COPING SYSTEM

I. PART ONE  GENERAL

1.01 SUMMARY:

A. Work included: Furnishing and installing factory fabricated and finished coping systems.

B. Related Work: [Insert applicable sections].

1.02 REFERENCES:

A. SPRI Sheet Membrane and Component Suppliers to the Commercial Roofing Industry, 175 Highland Ave., Needham, MA 02194, 617-444-0242, fax: 617-444-6111.

1.03 SUBMITTALS:

A. Product Data: Provide manufacturer’s product and complete installation data for all materials in this specification.

B. Shop drawings: Show profiles, joining method, accessories location, anchorage and flashing details, adjacent construction interface, and dimensions.

C. Samples: Available on request; sized to represent material adequately.

D. Contract Closeout: Submit Special Warranty and Manufacturer’s performance certifications [if applicable].

E. Installation Guide: The product manufacturer shall provide a written installation guide.

1.04 QUALITY ASSURANCE:

A. High performance coping shall be CERTIFIED by the coping manufacturer to meet performance design criteria according to the following test standards: [select, if applicable]:

1. ANSI/SPRI ES-1 Test RE-3 for Coping: The coping system shall be tested simultaneously on horizontal and vertical surfaces and shall exceed horizontal and vertical design wind pressure as calculated in accord with the ANSI/SPRI ES-1 Test RE-3. Use the current edition of ANSI/SPRI ES-1 Wind Design Standard for Edge Systems Used with Low Slope Roofing Systems.
2. The coping product shall be UL Classified by Underwriters Laboratories, Inc.® or other 3rd party verification of compliance with the ANSI/SPRI ES-1 Wind Design Standard.
1.05 PRODUCT HANDLING:

A. All materials shall be delivered in the manufacturer’s original sealed, labeled containers.

B. Store materials in a dry, protected, well-vented area.  The contractor shall report damaged material immediately to the delivering carrier and note such damage on the carrier’s freight bill of lading. 

C. Remove protective plastic surface film immediately after installation [if applicable].

1.06 SUBSTITUTIONS

A. Proposals for substitution products shall be accepted only from bidding contractors a minimum of 10 working days before bid due date. The proposed substitution shall meet the performance and quality standards of this specification (see section 1.04).

1.07 JOB CONDITIONS:

A. Verify that other trades with related work are complete before mounting coping covers.

B. Mounting surfaces shall be straight and secure; substrates shall be of proper width.

C. Refer to the construction documents, shop drawings and manufacturer’s installation instructions.

D. Coordinate installation with roof membrane manufacturer’s instructions before starting.

E. Observe all appropriate OSHA safety guidelines for this work.

1.08 WARRANTY/GUARANTEE:

A. Manufacturer’s Standard Warranty: Warranted materials shall be free of defects in material and workmanship for five years after shipment.  If, after inspection, the manufacturer agrees that materials are defective, the manufacturer shall at their option repair or replace them. For decorative finish warranty, consult manufacturer.

B. Standard Permasnap with 20 gauge cleat - 20-Year Excel Warranty: Manufacturer shall guarantee that a standard size roof edge system, when installed per manufacturer’s instructions, will not blow off, leak, or cause membrane failure, even in wind conditions up to 110 mph, or the manufacturer shall at their option repair or replace their materials.

II. PART TWO  PRODUCTS

2.01 MANUFACTURER:

A. W. P. Hickman Company


P.O. Box 15005


Asheville, NC 28813-0005


Phone: 828-676-1700


Toll Free: 800-892-9173


Fax: 828-676-2330


Internet address - http://www.wph.com
2.02 PARAPET COPING SYSTEM:

A. Shadowline Coping: Metal coping cap with galvanized steel anchor cleats and gutter support chairs for capping any parapet wall.  The system shall be watertight, maintenance free, and not require exposed fasteners or sealant.  Joints shall be butt type with concealed splice plates. 

B. Performance characteristics:


1. Coping sections shall expand and contract freely while mechanically locked in place on anchor cleats.


2. Coping sections shall lock to anchor cleats by mechanical pressure from support chairs.


3. All coping cover joints shall be underlayed with gutter/support chairs capable of draining water.

C. Metal [choose]: (.040”, .050” or .063” aluminum for all sizes; 24 gauge galvanized steel with Kynar coating; custom metal by request).

D. Coping cap: Length of 10'-0” (3048 mm); width of [choose] (6” (152 mm) to 24” (610 mm); custom widths 

by request. True radii may be built to template.

E. Coping vertical face leg [choose] 6” to 12” and back leg up to 4” to 6”.

F. Internal splice plates: Shall be concealed with matching finish to maintain outside face continuity.

G. Coping Cleat: 20 gauge galvanized steel anchor cleat; normally 12” (305 mm) wide @ 5'-0” (1524 mm) on center mechanically fastened as indicated and detailed.

H. Gutter/support chair: Metal Gutter Chair in color and finish to match coping cap.
I.  Fasteners: Shall be stainless steel screw type with a minimum pull-out resistance of 240 # (109 kg) as supplied by the manufacturer per substrate application. No exposed fasteners shall be permitted. 

J. Finishes: Shall be  [select: Natural aluminum mill finish; standard precoated Kynar-500 from manufacturer’s color list; standard postcoated Kynar-500 from industry standard two coat colors; nonstandard Kynar-500 color with multiple coatings or protective clear coats; anodized aluminum; post applied exterior finish process]. Color shall be [insert color].

2.03 ACCESSORIES:

A. Corners, end caps, pier caps, etc. shall be fabricated by the coping manufacturer. 

B. Welded or METAL-LOCK® assembly shall be used to maintain watertight integrity.

III. PART THREE  EXECUTION

3.01 INSPECTION:

A. Verify that coping installation will not disrupt other trades. Verify that substrate is dry, clean and free of foreign matter. Report and correct defects prior to any installation.

3.02 INSTALLATION:

A. Submit product design drawings for review and approval to Architect or Specifier before fabrication.

B. Installing contractor shall check as-built conditions and verify the manufacturer’s coping details for accuracy to fit the wall assembly prior to fabrication. The installer shall comply with the coping manufacturer’s installation guide when setting copings.

C. Installer shall use mechanical fasteners with minimum 240 # (109 kg) pull-out resistance suitable for parapet substrates. 
END OF SECTION 07710


[image: image1.jpg]