Section 05760
DECORATIVE METAL
PART 1 – GENERAL

1.1
SUMMARY

A.
This Section includes Decorative Metal as shown on drawings and schedules

B. 
Drawings and general provisions of the Contract Documents apply to work of this section.

1.2
SUBMITTALS

A. 
Shop drawings indicating quantities, dimensions, finishes, and attachment details.

B. 
Product literature and samples for each color, pattern, and finish as indicated.

1.3
QUALITY ASSURANCE
A. 
Manufacturer shall have a minimum of 5 years experience in manufacturing decorative metals for commercial use.

1.4
DELIVERY, STORAGE, AND HANDLING

A. 
Deliver materials to the project site in manufacturer's original packaging, properly labeled for identification and installation purposes. 

B. 
Store in location to avoid damage from job-site traffic, direct sunlight, moisture, stacking or other job-site contaminates. Store in a completely supported flat position. Edge storage is not recommended.
C. 
Handle components to avoid denting or scratching of finished surfaces.
E. 
DO NOT use markers on protective PVC film. Some types of ink will permeate the film and mark the material surface.

1.5
PROJECT CONDITIONS

A. 
Maintain a constant temperature range of 65°F to 85°F (18°C to 24°C), with stable relative humidity, for at least 48 hours prior to, throughout the installation period and maintained consistently thereafter.
B.
Installation locations must be enclosed, weatherproofed and climate controlled prior to commencing installation.
C.  
Do not install if relative humidity is greater than 80%.

1.6
WARRANTY

A. 
Provide manufacturers warranty against defects in material and workmanship.
PART 2 – PRODUCTS

2.1
MANUFACTURER

A. 
Acceptable decorative metals as manufactured by:

Móz Designs, Inc. 

711 Kevin Court,

Oakland, CA 94621

Phone 510-632-0853 x 16
Fax 510-632-0852

Email: info@mozdesigns.com
2.2 
METALS
A. 
Aluminum ‘Moz Metals’

1. .040” Aluminum: Type 5052 alloy complying with ASTM B209
2. Sizes: 4’x8’ and 4’x10’
3. Color & Pattern: (specify from Moz Classic or Blendz series)
4. Finish: Polycoat Gloss (GL), -OR- Polycoat Satin (SA)
AND/OR 
B. 
Perforated Aluminum ‘Moz Metals’

1. .050” Aluminum: Type 5052 alloy complying with ASTM B209
2. Sizes: 4’x10’
3. Color & Pattern: (specify from Moz Classic series)
4. Finish: Polycoat Gloss (GL), -OR- Polycoat Satin (SA)

AND/OR 
C. 
Corrugated Aluminum ‘Moz Metals’

1. .040” Aluminum: Type 5052 alloy complying with ASTM B209
2. Sizes: 44 1/2" x 96" and 44 1/2" x 120" 
3. Color & Pattern: (specify from Moz Classic or Blendz series)
4. Finish: Polycoat Gloss (GL), -OR- Polycoat Satin (SA)
AND/OR 
D.
Stainless Steel ‘Moz Metals’

1. 20GA Stainless: Type 304 alloy complying with ASTM A240

2. Sizes: 4’x8’ and 4’x10’
3. Pattern: (specify from Moz standard Patterns)
4. Finish: none

PART 3 - EXECUTION
 
3.1    EXAMINATION
 
A.  Examine product, substrates and installation conditions.

B.   Notify the contractor and architect in writing of any conditions detrimental to the proper and timely completion of the installation.

C.  Do not proceed with work until conditions have been corrected.

 
3.2     SURFACE PREPARATION
 
A. Prior to installation, clean surface to remove dirt, debris and loose particles. Perform additional preparation procedures as required per the manufacturer’s instructions.

B. Protection: Take all necessary precautions to prevent damage to materials during installation.
 
3.3     INSTALLATION
 
A. Install the work of this section in strict accordance with manufactures written Technical Information and workability guidelines 

  
3.4    CLEANING
 
A.      Remove protective coverings and clean decorative metal to remove adhesives and tape residue.  Test all solvents on non-exposed surfaces prior to use. 
1. For painted surfaces, use a mild detergent solution on a soft cloth.
2. For stainless steel, use a glass cleaner and a soft cloth.   
3. For other surfaces, contact manufacturer for proper cleaning procedures.
4. For HEAVY CLEANING and removal of grease, use oil based mineral spirits or naphtha. Low concentration ammonia based cleaning agents such as glass cleaners may also be used. 
5. Minor scuffs can be polished out by hand with a #6 to #9 type finishing polish or wax. 
6. DO NOT treat with rubbing compounds or lacquer thinner as this may dissolve or etch the coating.
B. Visually inspect all exposed surfaces for scratches or blemishes.
C. Protect Decorative Metal from damage during remainder of construction period.
 
 
END OF SECTION
