
[image: image1.emf]







Da-Lite
3100 N. Detroit St.
Warsaw, IN 46582
Phone: (800) 622-3737
Phone: (574) 267-8101
Fax: (877) 325-4832
Fax: (574) 267-7804
E-mail: info@da-lite.com
www.da-lite.com

SECTION 11145PRIVATE 


LECTERNS
*****  Da-Lite Screen Company, Inc. manufacturers numerous types and models of projection screens, lecterns, conference cabinets, and other audio visual presentation equipment and furniture.  This guide can be used to prepare a specification for incorporating into a competitively bid construction project one of the following Da-Lite lecterns.



Classic Euro Lectern



Meeting Euro Lectern



Desk Euro Lectern



Concord Floor, Stacking, and Table Top Lecterns



Cambridge Floor, Stacking, and Table Top Lecterns



Lexington Floor, Stacking, Table Top, and Multi-Media Lecterns



Hamilton Floor, Stacking, and Table Top Lecterns



Yorkshire Floor, Stacking, and Table Top Lecterns



Providence Floor and Multi-Media Lecterns



Traditional Pedestal Lectern



Contemporary Pedestal Lectern
Da-Lite Screen Company, Inc. also manufacturers conference cabinets housing a projection screen and whiteboard.  The cabinets are provided in 5 styles which coordinate with various lectern styles.  Conference cabinets can be specified in Da-Lite product specification SECTION 11141 - CONFERENCE CABINETS.

Throughout this product guide specification, references are made to other specification sections that might be contained in the project manual.  These references are presented as examples and coordination reminders.  For each project, these references will need to be revised to reflect actual sections being used.

Within the specification text, Imperial dimensions are presented first in brackets followed by System International Metric (SI) equivalents also in brackets.  Depending on project requirements, either the Imperial or the SI metric equivalents will need to be deleted.

The specifier will need to edit this product specification for a specific project to reflect the options and applications being used.  The guide section has been written so that most editing can be accomplished by deleting unnecessary requirements and options.  Options are indicated by  [   ].  Notes to assist the specifier in selecting options and editing the specification guide are printed in bold and indicated with  *****.  For final editing, all brackets and notes will need to be deleted from the guide. 

******************************************************************************
PART 1 - GENERAL
1.1
SUMMARY


A.
Section includes:  Free standing lecterns.

1.2

seq level1 \h \r0 

seq level2 \h \r0 
SUBMITTALS


A.
Provide in accordance with Section 01330 - Submittal Procedures:




1.
Product data for lecterns.




2.
Shop drawings:  Indicate dimensions and fabrication details.




3.
Finish samples [for selection by Architect].




4.
Manufacturer's maintenance, and cleaning instructions.

1.3

seq level1 \h \r0 

seq level2 \h \r0 

seq level3 \h \r0 
QUALITY ASSURANCE


A.
Manufacturer qualifications:  Firm with 30 years minimum successful experience manufacturing audio-visual presentation equipment.

1.4

seq level1 \h \r0 

seq level2 \h \r0 
DELIVERY, STORAGE, AND HANDLING


A.
Deliver lecterns after building is enclosed and construction is substantially complete.



B.
Deliver items in manufacturer's undamaged, labelled packaging.

PART 2 - PRODUCTS
2.1

seq level1 \h \r0 

seq level2 \h \r0 
ACCEPTABLE MANUFACTURERS


A.
Da-Lite Screen Company, Inc.




1.
Address:  3100 North Detroit Street, P.O. Box 137, Warsaw, Indiana 46581-0137.




2.
Telephone:  800-622-3737 or 574-267-8101.




3.
Fax:  574-267-7804.




4.
Website:  www.da-lite.com.



B.seq level3 \h \r0 
Requests to use equivalent products of other manufacturers shall be submitted in accordance with Section 01630 - Product Substitution Procedures.

2.2

seq level1 \h \r0 

seq level2 \h \r0 
BASIC LECTERNS

*****  Da-Lite Screen Company, Inc. manufacturers 3 types of portable, utilitarian lecterns - Classic Euro Lectern, Euro Meeting Lectern, and Desk Euro Lectern.  Refer to Da-Lite product literature for illustrations and dimensions.  *****



A.
Type:  Ulitiltarian lectern fabricated from steel sections and laminated surfaces; [Classic Euro Lectern] [Euro Meeting Lectern] [Desk Euro Lectern] as manufactured by Da-Lite Screen Company, Inc.



B.
Overall size (height by width by depth): [_____] by [_____] by [_____] [inches] cm].



C.
Finish:  




1.
Frame:  Charcoal gray powder paint coating.




2.
Panels:  Dove gray plastic laminate.

*****  Include the following paragraph to specify Classic Euro Lectern.  *****



D.seq level3 \h \r0 
Configuration:  Mobile, floor type with flush front panel, sloped reading surface, and one storage shelf.  Lectern mounted on four [2 inches] [51 mm] diameter casters.

*****  Include the following paragraph to specify Euro Meeting Lectern.  *****


E.
Configuration:  Free-standing, floor type with perforated front panel, sloped reading surface, and one storage shelf.

*****  Include the following paragraph to specify Desk Euro Lectern.  *****


F.
Configuration:  Table top lectern with perforated front panel and sloped reading surface.

2.3

seq level1 \h \r0 

seq level2 \h \r0 
ENHANCED LECTERNS

*****  Da-Lite Screen Company, Inc. manufacturers 4 types of enhanced lecterns with integral light, clock, timer, and other optional features.  These types are floor, stacking, table top, and pedestal.  *****



A.
Type:  Enhanced lectern with integral light, clock, and timer; [Free standing floor lectern] [Two-piece stacking lectern which converts from full-height floor lectern to table top lectern and matching projection stand] [Table top lectern] [Pedestal lectern with wide reading top, narrow support, and flat base] as manufactured by Da-Lite Screen Company, Inc.

*****  Pedestal lecterns are available in two styles, traditional and contemporary.  The other types are available in 6 styles - Concord, Cambridge, Lexington, Hamilton, Yorkshire, and Providence.  Several finishes are available for each style.  *****



B.
Style:  [Flush panels with rounded corners; Concord Style] [Flush panels with wood trimmed square edges; Cambridge Style] [Rectilinear design with flush panels and square corners; Lexington Style] [Recessed panel design with square corners; Hamilton Style] [Flush panels with beveled corners and [brass] [bronze] [_____] trim; Yorkshire Style] [Flush panels with square corners and decorative reveals; Providence Style] [Sculpted, flowing design; Traditional Style] [Modern design with rounded corners; Contemporary Style] as manufactured by Da-Lite Screen Company, Inc.

*****  Most lecterns are available in two widths.  Refer to Da-Lite product literature for dimensions of various lecterns and styles.  *****


C.
Dimensions:




1.
Overall size (height by width by depth): [_____] by [_____] by [_____] [inches] cm].




2.
Reading surface (width by depth):  [_____] by [_____] [inches] [cm].



D.seq level3 \h \r0 
Enhanced lecterns shall be equipped with the following features:




1.
High intensity reading light.




2.
Digital clock/timer.




3.
LED digital clock/timer with countdown capability.

*****  Several optional enhancements are available for lecterns.  Refer to Da-Lite product literature for options available for each type and style of lectern.  Select required options from the following paragraphs.  *****



4.
Sound system:  Premium sound system providing 60 watts of RMS power.

*****  Accessory speakers are provided in Concord and Lexington Styles.  *****



5.
Speakers:  25 watts speakers, [8 inches] [203 mm] high with [100 feet] [30 m] self-storing cord in [Concord] [Lexington] Style.




6.
Wireless microphone system:  [Battery powered lavalier type.] [Hand-held type [with gooseneck mount].]

*****  Locked storage area can be provided for floor and stacking type lecterns.  *****



7.
Provide key locked storage area in below reading surface. 
*****  Electric height adjustment mechanism can be provided for floor type lecterns only.  ***** 




8.
Height adjustment:  Electrically operated mechanism with electronic control to adjust floor lectern height within [8 inches] [203 mm] range

*****  Floor type lecterns can be equipped with height adjustment and braille identification such that units provide ADA accessibility.  Reading lights are not available  ADA accessible lecterns.  *****



9.
Special needs enhancements:   Equip lectern with enhancements required to make unit accessible by persons with physical disabilities.





a.
Height adjustment:  Electrically operated mechanism with electronic control to adjust floor lectern height from [40 inches] [102 cm] sitting position to [46 inches] [117 cm] standing position.





b.
Braille identification:  Provide on all control panel components.




10.seq level4 \h \r0 
Provide custom cut-outs in reading surfaces for flush mounting of multi-media controls.  Shape and dimensions to be designated by Architect.




11.
Provide custom [silk screened acrylic] [laser etched aluminum] [etched brass] [_____] logos on lecterns.  Design to be provided by Architect.  




12.
Covers:  Provide padded, nylon lined covers for all lecterns.

 *****  Lecterns are provided in 7 standard hand rubbed wood veneers and 3 standard plastic laminate finishes.  In addition, an extensive range of exotic and custom finished veneers and plastic laminates can be provided to coordinate with specific interior decorating schemes. Concord Style lecterns are also available with gray or black carpet finish.  Refer to Da-Lite product literature for non-standard finish options.  *****



E.seq level3 \h \r0 
Finish:  [[Honey maple] [Light oak] [Medium oak] [Natural walnut] [Heritage walnut] [Cherry] [Mahogany] [_____] hand rubbed wood veneer.] [[Gunstock walnut] [Light oak] [Mahogany] [_____] plastic laminate.] [As selected by Architect from manufacturer's full range.] [Custom color to match sample submitted by Architect.]  [[Gray] [Black] industrial-grade carpet with black laminate trim.]

2.4

seq level1 \h \r0 

seq level2 \h \r0 
MULTI-MEDIA LECTERN

*****  Lexington and Providence Multi-Media Lecterns are designed to accommodate complete computer-based presentations.  These are floor models provided in two styles and two widths.  *****



A.
Type:  Floor lectern equipped to accommodate complete computer-based presentations; [Lexington] [Providence] Multi-Media Lectern as manufactured by Da-Lite Screen Company, Inc.



B.
Style:  [Rectilinear design with flush panels and square corners; Lexington Style] [Flush panels with square corners and decorative reveals; Providence Style] as manufactured by Da-Lite Screen Company, Inc.



C.
Dimensions:




1.
Overall size (height by width by depth): [_____] by [_____] by [_____] [inches] cm].




2.
Reading surface (width by depth):  [_____] by [_____] [inches] [cm].



D.seq level3 \h \r0 
Lecterns shall be equipped with the following features:




1.
High intensity reading light.




2.
Digital clock/timer.




3.
LED digital clock/timer with countdown capability.




4.
Hinged reading surface to allow access to monitor and routing cords.

*****  15 inches (381 mm) maximum diagonal monitor can be accommodated.  *****



5.
Shelf and cutout in top surface for [15 inches] [381 mm] [_____] diagonal monitor.




6.
Fixed height, pullout keyboard shelf with fold-down door to conceal keyboard.




7.
Adjustable equipment shelves below reading surface concealed behind hinged doors.




8.
2 electrical outlets.

*****  Pull-out drawer for holding projector can be equipped with an optional lock.  *****



9.
Pull-out projection equipment drawer on side of lectern with fold-down door [and keyed lock].

*****  Several optional enhancements are available for multi-media lecterns.  Select required options from the following paragraphs.  *****



10.
Provide custom cut-outs in reading surfaces for flush mounting of multi-media controls.  Shape and dimensions to be designated by Architect.




11.
Threaded rack mount for equipment installed in lower compartment.




12.
Cooling fan to protect electronic equipment in closed compartments from overheating.




13.
Sound system:  Premium sound system providing 60 watts of RMS power.

*****  Accessory speakers are provided in Concord and Lexington Styles.  *****



14.
Speakers:  25 watts speakers, [8 inches] [203 mm] high with [100 feet] [30 m] self-storing cord in [Concord] [Lexington] Style.




15.
Wireless microphone system:  [Battery powered lavalier type.] [Hand-held type [with gooseneck mount].]




16.
Provide keyed locks for storage compartments. 



17.
Height adjustment:  Electrically operated mechanism with electronic control to adjust floor lectern height within [8 inches] [203 mm] range




18.
Provide custom [silk screened acrylic] [laser etched aluminum] [etched brass] [_____] logos on lecterns.  Design to be provided by Architect.  




19.
Covers:  Provide padded, nylon lined covers for all lecterns.

 *****  Multi-media lecterns are provided in 7 standard hand rubbed wood veneers and 3 standard plastic laminate finishes.  In addition, an extensive range of exotic and custom finished veneers and plastic laminates can be provided to coordinate with specific interior decorating schemes.  Refer to Da-Lite product literature for non-standard finish options.  *****



E.seq level3 \h \r0 
Finish:  [[Honey Maple] [Light Oak] [Medium Oak] [Natural Walnut] [Heritage Walnut] [Cherry] [Mahogany] [_____] hand rubbed wood veneer.] [[Gunstock Walnut] [Light Oak] [Mahogany] [_____] plastic laminate.] [As selected by Architect from manufacturer's full range.] [Custom color to match sample submitted by Architect.]  [Gray industrial-grade carpet with black laminate trim.]

PART 3 - EXECUTION
3.1

seq level1 \h \r0 

seq level2 \h \r0 
INSTALLATION



A.
Unpack lecterns after building painting and cleanup has been completed.



B.
After removal from cartons, assembly units in accordance with manufacturer's instructions.



C.
Clean surfaces in accordance with manufacturer's instructions.  Do not use abrasives.



D.
Adjust moving components for smooth operations.  Verify electronic functions are operable.  Correct deficiencies.



E.
Place lecterns in building areas designated by Owner.  Obtain receipt from Owner for delivered items.

3.2

seq level1 \h \r0 

seq level2 \h \r0 
SCHEDULE

***** For large projects requiring numerous lecterns of various types and styles, a schedule of required items is appropriate.  *****


A.
Provide quantities and types of lecterns as specified in Part 2 - Products:




1.
[__quantity__] each [__type__], [__style__] lectern, Da-Lite Model No. [_____].




2.
[__quantity__] each [__type__], [__style__] lectern, Da-Lite Model No. [_____].




3.
[__quantity__] each [__type__], [__style__] lectern, Da-Lite Model No. [_____].


END OF SECTION
______________________________________________________________________________

LECTERNS
11145 - 5

