decoustics



   Ceiling System "Suspended Reveal” (D)

“ Quadrillo” VENEER FINISHED CEILING PANELS

Guide Specification

PART 1. GENERAL
1.01 Scope
A.
Include all labor, materials, and plant as required for the fabrication and delivery of acoustical ceiling panels for the system described and specified herein. 

1.02 Related Work by Other
A.
Gypsum board partition, and wall and ceiling structure.

B.
Paint finish of ceiling surface behind and between panelling.

C.
Lighting fixtures and electrical services and connections.

D.
Air handling, heating and air conditioning, plumbing and other mechanical services as required.

E.
Public address system, speakers, wiring, support and installation.


F.
Life safety equipment.

G. Ceilings by others not included in this scope.  

1.03 Quality Assurance
A.
Manufacturer & Installer: Firm manufacturing the specified product shall have adequate capacity required for projects listed and have successfully completed similar projects for a period of not less than five years.  The Installer should be approved by the Manufacturer as qualified to perform work required.

B.
Reference Standards: Conform to all governing laws, building codes, and the following performance criteria:

1.
Fire Performance Characteristics: Provide ceiling panels with surface-burning characteristics as determined by testing in accordance with ASTM E-84 by a testing organization acceptable to authorities having jurisdiction.

2.
Acoustical Performance Characteristics: Provide ceiling panels with acoustical absorption characteristics as indicated in Part 2, which have been determined by testing fully assembled production material in accordance with ASTM C‑423 (Type E400 mounting method as defined by ASTME-795) by a testing organization acceptable to authorities having jurisdiction.  Approved testing organization must be independent of the manufacturer.

1.04 Submittals
A.
Submit to the Architect of record, three (3) complete sets of CAD generated shop drawings prepared by the manufacturer showing all necessary details and dimension requirements which will subsequently be field verified and revised as required by the Architect.

B.
Samples: Submit (3 sets) manufacturers standard 8" X 11" (203mm x 280mm) sample panels of each type of product as specified in Part 2 to the Owner for approval.  Product shall be original production material in veneer finish specified for final use.

C.
Certification: Submit to the owner a certificate of compliance to specified acoustical and fire performance criteria as stated section 1.03 and Part 2 of this specification, signed by an officer of the panel manufacturer and attach independent laboratory test results for each product used, showing that the products supplied as components meet or exceed the specified requirements. Submit additional test results to owner as requested detailing compliance to updated code requirements.

D.
Prior Approval: Manufacturers not listed in section 2.01 of this specification and wishing to be submitted as an equal on the project must submit information in accordance with section 1.04 of this specification fifteen days prior to the bid date as outlined in the contract documents.  The information submitted must give evidence to show that the alternative product equals or exceeds the attributes and performance of the specified product.

E.
Manufacturers Approval: The manufacturer shall have the right to approve the selection of the installing contractor and to verify that said contractor has sufficient experience and expertise to complete the project in a satisfactory manner.

F.
Single Source: All custom acoustical wall and ceiling panels shall be purchased from a single supplier.

1.05  Product Delivery, Storage and Handling
A.
Deliver fabricated units and related components to the site for installation in accordance with a reasonable schedule furnished by the contractor.  On‑site storage shall be such as to assure that all panels and associated materials are protected from damage.

B.
Prior to panel installation the site must be free of all wet and dusty trades and the climatic conditions stabilized to normal operational levels.  Panels shall be allowed to stabilize on site 72 hours prior to installation.


C.
PANELS MUST BE STORED, INSTALLED AND MAINTAINED ONLY IN SECURE AMBIENT ENVIROMENT (HUMIDITY MIN. 35% - MAX. 55%, TEMPERATURE NOT TO EXCEED 80º F (27C).
1.06  Guarantee
A.
Furnish to the Architect in the Owner's name, the manufacturers written guarantee covering the products supplied against defects in materials and workmanship under normal operating conditions for a period of one year from the date of shipment.  Submit certificates of compliance showing warranty period by dates for each project completed to the Owner. 

B.      All system components shall be manufactured and supplied by the named 
manufacturer. Individual components, provided by individual suppliers will not 
be considered or accepted.


C.
Manufacturer must demonstrate the ability to fully bond the project for its full 

material value.

PART 2  PRODUCTS
2.01
Quadrillo Acoustic Panels

Furnish and deliver prefabricated Quadrillo acoustic panels mounted using the "Suspended Reveal” ceiling system manufactured by :



Decoustics Limited


61 Royal Group Crescent



TEL: (905)652-5200


Woodbridge, Ontario



FAX: (905)652-2505



Canada, L4H 1X9




Email: sales@decoustics.com 
1.
The panels shall be comprised of a sandwich construction of the following: A face sheet of selected real wood veneer laminated to 1/4" (6mm) medium density fiber board perforated by means of transverse “V” routing on 5mm centers. The membrane is fully bonded to a 6 to 7 lb./cu.ft (96 to 112 kg/cu.m.) density acoustically absorptive core material of 3/4" (19mm; QPP 19), 1" (25mm; QPP 25), or 2" (50mm; QPP 50) thickness as required to meet acoustic absorption. The panel shall be backed with 1/8" (3mm) perforated hardboard fully bonded to the core material. The perimeter shall be constructed of particle core of adequate thickness to match the core material. The boards shall be fabricated to sizes required by field dimensions supplied by the installing contractor and will not vary from determined sizes by more than +/- 1/16" (2mm) vertically and horizontally. Intermediate framing support shall be incorporated on 24" (610mm) centers or as required. 

2.
Veneer to be:  (A)
Select veneer from Manufacturers standard 



range of lacquer finished real wood veneers OR





  (B)    Architect / Designer specified finish






Source and laminate Architects specified veneer species, stained and laquered to match Architects sample


Unless otherwise specified, veneer will be quarter cut, slip matched. 


Veneer will not be sequenced. Clear lacquer finish to 30% sheen.
3.
Installation shall be by use of installer supplied ‘T’-bar (1 ½" (38mm) web height – heavy duty) slipped through factory installed DPC-2 panel clips and secured (screwed) into place. This assembly is then suspended in place using threaded hanger rods, or steel hanger strips on maximum horizontal centres of 24". Attach the threaded rods, steel hanger strips, or hanger wire to the ‘T’-bar, and where necessary, the black iron above using appropriate fasteners. Adhesively mounted clips are not acceptable.  All fasteners are to be supplied by the installing contractor. 

4.
Installation shall be in accordance with the manufacturers’ instructions and as shown on Decoustics shop drawings.  Installer shall provide shimming and adjustments as required to maintain consistent alignment of joints and of finished panel faces.

5.
Panels shall have noise reduction coefficient values of the following when tested in accordance with section 1.03 of this specification.








Frequency (Hz)


Panel Type

125
250
500
1000
2000
4000
NRC   SAA



QPP-19

0.78
0.77
0.61
0.86
1.04
0.70
0.80
0.82



QPP-25

0.79
0.90
0.81
0.95
1.05
1.05
0.90
0.91



QPP-50

0.80
0.87
1.00
1.07
1.06
1.00
1.00
0.98

PART 3  INSPECTION AND APPROVAL
3.01  Adjustment and Replacement
A.
The Owner shall inspect the installation and product on completion.  The manufacturer shall provide repair or replacement of components not conforming to requirements as stated herein and said work will then become bound by the terms of this specification. 

B.
Installation labor for removal and replacement of product improperly installed and not conforming to specified installation instructions as detailed in section 1.03 and Part 2 and shown on plans, shall be the responsibility of the installing Contractor.
C.      Quadrillo is a real wood veneer product. Every effort is made to maintain the 
overall appearance, however, natural variations in grain, texture, shade and 
aging may occur in varying site conditions. For these reasons, the 
manufacturer cannot guarantee the exact matching of grain, pattern and 
color.

PAGE  
4
Decoustics "Suspended Reveal" Ceiling System

Quadrillo Panels

March 2010 


