decoustics

 "Lay-in" Ceiling System (H)

Fabric or Perforated Vinyl finished Panels

Guide Specification

PART 1. GENERAL
1.01 Scope
A.
Include all labor, materials, and plant as required for the fabrication and delivery of acoustical ceiling panels for the system described and specified herein. 

1.02 Related Work by Other
A.
Gypsum board partition, and wall and ceiling structure.

B.
Paint finish of ceiling surface behind and between panelling.

C.
Lighting fixtures and electrical services and connections.

D.
Air handling, heating and air conditioning, plumbing and other mechanical services as required.

E.
Public address system, speakers, wiring, support and installation.


F.
Life safety equipment.


G.
Ceilings by others not included in this scope.  

1.03 Quality Assurance
A.
Manufacturer & Installer:  Firm manufacturing the specified product shall have adequate capacity required for projects listed and have successfully completed similar projects for a period of not less than five years. The installer should be approved by the manufacturer as qualified to perform work required.

B.
Reference Standards:  Conform to all governing laws, building codes, and the following performance criteria:


1.
Fire Performance Characteristics: Provide ceiling panels with surface‑burning 



characteristics as determined by testing panel components in accordance 


with ASTM E84 test procedures (building code requirements may necessitate 

composite panel testing using identical materials and construction 



representative of a typical 
installation, using the specified finish(es) - 


Decoustics has a considerable number of composite ASTM E84 panel tests 

on file.  ASTM E‑84 testing must be performed by a testing organization 


acceptable to authorities having jurisdiction.


*ASTM E-84

Classification

      
Class "A" or "1"



Flame Spread:

25 or less





Smoke Developed:

450 or less
*ASTM E84 Fire test data is available for Decoustics Standard finishes
(Note: Class A assembly not available for vinyl finished panels).

2.
Acoustical Performance Characteristics:  Provide ceiling panels with



acoustical absorption characteristics as indicated in Part 2, which have been determined by testing fully assembled production material in accordance with ASTM C‑423 (Type "E400" mounting as defined by ASTM E-795) by a testing organization acceptable to authorities having jurisdiction.  Approved testing organization must be independent of the manufacturer.

.

• Note: If testing to the above standards is required for non-standard finishes on panels, a cost of testing allowance must be a part of the specification. Remember there are no guarantees with fire or toxicity testing, and it may be necessary to test more than one proposed finish in order to meet the code requirements. Please contact an accredited fire or acoustic testing laboratory for information on cost of testing.

3.
All fabric finishes specified for acoustic panels shall be tested in 

accordance with ASTM D6207 - Standard Test Method for Dimensional Stability of Fabrics to Changes in Humidity and
Temperature.

1.04 Submittals
A.
Submit to the Architect of record, three (3) complete sets of CAD generated details prepared by the manufacturer, showing typical installation and perimeter methods/conditions.

B.
Samples: Submit (3 sets) manufacturers standard 8" (200mm) x 11" (280mm)  sample panels of each type of product as specified in Part 2 to the Owner for approval.  Product shall be original production material in fabric finish specified for final use.

C.
Certification: Submit to the owner a certificate of compliance to specified acoustical and fire performance criteria as stated section 1.03 and Part 2 of this specification, signed by an officer of the panel manufacturer and attach independent laboratory test results for each product used, showing that the products supplied as components and complete assemblies, meet or exceed the specified requirements.


D.
Prior Approval:  Manufacturers not listed in section 2.01 of this specification and wishing to be submitted as an equal on the project must submit information in accordance with section 1.04 of this specification fifteen days prior to the bid date as outlined in the contract documents.  The information submitted must give evidence to show that the alternative product equals or exceeds the attributes and performance of the specified product.

E.
Manufacturers Approval: The manufacturer shall have the right to approve the selection of the installing contractor and to verify that said contractor has sufficient experience and expertise to complete the project in a satisfactory manner.

F.
Single Source:  All custom acoustical wall and ceiling panels shall be purchased from a single supplier.

1.05  Product Delivery, Storage and Handling
A.
Deliver fabricated units and related components to the site for installation in accordance with a reasonable schedule furnished by the contractor.  On‑site storage shall be such as to assure that all panels and associated materials are protected from damage, and storage area is climatically controlled to normal operational levels.

B.
Prior to panel installation the site must be free of all wet and dusty trades and the climatic conditions stabilized to normal operational levels.  Panels shall be allowed to stabilize on site 24 hours prior to installation. 

C.       Panels must only be handled by persons wearing clean light-weight gloves. It 
is very important that personnel installing hardware (grid, hanger wires, etc.) 
do not handle the panels before putting the clean lightweight gloves on. 
1.06  Guarantee
A.
Furnish to the Architect in the Owner's name, the manufacturers written guarantee covering the products supplied against defects in materials and workmanship under normal operating conditions for a period of one year from the date of shipment.  Submit certificates of compliance showing warranty period by dates for each project or part completed to the Owner. 

PART 2  PRODUCTS
2.01
Acoustical Absorptive Lay-in Ceiling Panels
Furnish and deliver prefabricated acoustical ceiling systems as described in this section for installation in areas as shown on drawings meeting or exceeding the following requirements:


A.
Description:  The acoustic panels shall be Decoustics type AP(R) Fabric finished ceiling panels manufactured for installation into the "Lay-in" system by:



Decoustics Limited


61 Royal Group Crescent



TEL: (905)652-5200


Woodbridge, Ontario



FAX: (905)652-2505



Canada, L4H 1X9




Email: sales@decoustics.com 


1.
Fabric or perforated vinyl finished panels shall be type AP(R) (Note: the R designation indicates raw panel edges), type H1, H2, or H3. The panel shall be constructed of 6 to 7 lb./cu.ft (96 to 112 kg/cu.m.) density acoustically absorptive core of 1" (25mm), 1 ½" (38mm) or 2" (50mm), thickness. Panel deflection, when installed, shall not exceed 1/360th of the span. The back of all panels shall be clearly text marked with the project I.D. number, panel number, location code, quantity of units per size, and correspond to the shop drawings. 



2.
Finish shall be:





(A)
Manufacturers standard woven polyester, color chosen from the manufacturers’ full range of colors. The fabric shall be manufactured of Fire Retardant polyester yarn.  After market treatments are not acceptable.




OR




(B)
Architect/Designer specified finish








OR




(C)
Manufacturers standard vinyl - perforated.



Fabric and perforated vinyl finish(es) shall be bonded to the panel  
face. The finish shall be flat and wrinkle free. All finishes shall be 
tested for suitability (ASTM D6207) and approved for use by the panel 
manufacturer prior to procurement and fabrication. 

3.
Installation shall be by use of the installer supplied exposed grid system - panels lay in. Where necessary due to the span, installer supplied ‘T’-bar stiffener (1 ½" (38mm) web height) shall be slipped into and secured (screwed) to concealed panel clips (DPC-2) factory‑attached to the back of the panels. This assembly is then laid into the exposed grid system to ensure the panel sag does not exceed 1/360th of the span. Panel clips, when required, must be a minimum 20 gauge satincoat steel and mechanically mounted to the back of the panels. (Adhesively mounted clips are not acceptable).

4.
Installation shall be in accordance with local code requirements, manufacturers’ instructions, and as shown on Decoustics detail sheets.  Installer shall provide for shimming and adjustments as required to maintain consistent alignment of joints and of finished panel faces.



5.
 Panels shall have noise reduction coefficient values of the following 


when tested in accordance with section 1.03 of this specification.
Panel






Frequency (Hz)

Type
      Thickness
    Finish
125
250
500
1000
2000
4000
NRC
AP (R)         1" (25mm)
    Fabric
0.67
0.97
0.76
1.00
1.02
0.98
0.95

AP (R)         1" (25mm)
  Perf. Vinyl
0.69
0.96
0.74
1.02
1.00
0.97
0.95

AP (R)         2" (50mm)
    Fabric
0.60
0.87
1.00
1.11
1.09
0.96
1.00

AP (R)         2" (50mm)
  Perf. Vinyl
0.60
0.88
0.96
1.10
1.02
0.94
1.00
*Fabric and vinyl must be acoustically transparent for panel to produce absorption shown.
PART 3  INSPECTION AND APPROVAL
3.01  Adjustment and Replacement
A.
The Owner shall inspect the installation and product on completion.  The manufacturer shall provide repair or replacement of components not conforming to requirements as stated herein, and said work will then become bound by the terms of this specification. 

B.
Installation labour for removal and replacement of product improperly installed and not conforming to specified installation methods as detailed in section 2.01.3 and 2.01.4, and shown on approved shop drawings, shall be the responsibility of the installing Contractor.

3.02  Additional Material (Fabric and vinyl finishes)
A.
Provide to the Owner on completion of work, maintenance stock of fabric or vinyl finishes used in an identical dye lot, the greater of an amount equal to 2% of the total yardage required or enough material to cover one of the largest acoustical units supplied.

4
Decoustics "Lay-in" Ceiling System

Fabric or Perforated Vinyl finished panels

March 2010


