decoustics
Wall Panel Type AP

Fabric Finish

Guide Specification

Section ________
PART 1. GENERAL
1.01 Scope
A.
Include all labor, materials, and plant as required for the fabrication and delivery of acoustical wall panels complete in all respects as described and specified herein. 

1.02 Related Work by Other
A.
Gypsum board partition and wall structure

B.
Paint finish of wall surface behind and between panelling

C.
Lighting fixtures and electrical services and connections

D.
Other acoustical products  

1.03 Quality Assurance
A.
Manufacturer & Installer:  Firm manufacturing the specified product shall have adequate capacity required for projects listed and have successfully completed similar projects for a period of not less than five years. The installer shall be approved by the manufacturer as qualified to perform work required.

B.
Reference Standards:  Conform to all governing laws, building codes, and the following performance criteria:

1.
Fire Performance Characteristics: Provide acoustic wall panels with surface‑burning characteristics as determined by testing panel components in accordance with ASTM E84 test procedures (building code requirements may necessitate composite panel testing using identical materials and construction representative of a typical installation, using the specified finish(es) - Decoustics has a considerable number of composite ASTM E84 panel tests on file).

ASTM E‑84 testing must be performed by a testing organization acceptable to authorities having jurisdiction.

ASTM E-84

Classification

Class "A" or "1"




Flame Spread:

25 or less




Smoke Developed:

450 or less

2.
Acoustical Performance Characteristics:  Provide acoustic wall panels with acoustical absorption characteristics as indicated in Part 2, which have been determined by testing fully assembled production material in accordance with ASTM C‑423 (Type "F5" mounting as defined by ASTM E-795) by a testing organization acceptable to authorities having jurisdiction.  Approved testing organization must be independent of the manufacturer.

Note: If testing to the above standards is required for non-standard finishes on panels, a cost of testing allowance must be a part of the specification. Remember there are no guarantees with fire testing, and it may be necessary to test more than one proposed finish in order to meet the code requirements. Please contact an accredited fire or acoustic testing laboratory for information on cost of testing.
3.
All fabric finishes specified for acoustic panels shall be tested in accordance with ASTM D6207 - Standard Test Method for 


Dimensional Stability of Fabrics to Changes in Humidity and 


Temperature.
1.04 Submittals
A.
Submit to the Architect of record, three (3) complete sets of CAD generated shop drawings, or standard detail sheets, prepared by the manufacturer showing all necessary details and dimension requirements which will subsequently be field verified and revised as required by the Architect.

B.
Samples: Submit (3 sets) manufacturers standard 8" (200mm) x 11" (280mm) sample panels of each type of product as specified in Part 2 to the Owner for approval.  Product shall be original production material in fabric finish specified for final use.

C.
Certification: Submit to the owner a certificate of compliance to specified acoustical and fire performance criteria as stated section 1.03 and Part 2 of this specification, signed by an officer of the panel manufacturer and attach independent laboratory test results for each product used, showing that the products supplied as components and complete assemblies, meet or exceed the specified requirements.

D.
Prior Approval:  Manufacturers not listed in section 2.01 of this specification and wishing to be submitted as an equal on the project must submit information in accordance with section 1.04 of this specification fifteen days prior to the bid date as outlined in the contract documents. The information submitted must give evidence to show that the alternative product equals or exceeds the attributes and performance of the specified product.

E.
Manufacturers Approval: The manufacturer shall have the right to approve the selection of the installing contractor and to verify that said contractor has sufficient experience and expertise to complete the project in a satisfactory manner.

F.
Single Source:  All custom acoustical wall and ceiling panels shall be purchased from a single supplier.

1.05  Product Delivery, Storage and Handling
A.
Deliver fabricated units and related components to the site for installation in accordance with a reasonable schedule furnished by the contractor.  On‑site storage shall be such as to assure that all panels and associated materials are protected from damage, and storage area is climatically controlled to normal operational levels.

B.
Prior to panel installation, the site must be free of all wet and dusty trades and the climatic conditions stabilized to normal operational levels.  Panels shall be allowed to stabilize on site 24 hours prior to installation.

3. Panels must only be handled by persons wearing clean light-weight gloves. It is very important that personnel installing hardware (wall clips, screws, anchors, etc.) do not handle the panels before putting the clean lightweight gloves on.  
1.06  Guarantee
A.
Furnish to the Architect in the Owner's name, the manufacturers written guarantee covering the products supplied against defects in materials and workmanship under normal operating conditions for a period of one year from the date of shipment.  Submit certificates of compliance showing warranty period by dates for each project completed to the Owner. 

PART 2 PRODUCTS

2.01
Acoustical Absorptive AP Panel

Furnish and deliver prefabricated acoustical wall panels as described in this section for installation in areas as shown on drawings meeting or exceeding the following requirements:

Description:  The acoustic wall panels shall be Decoustics "Type AP" as manufactured by:
Decoustics Limited


61 Royal Group Crescent

TEL: (905)652-5200


Woodbridge, Ontario

FAX: (905)652-2505



Canada, L4H 1X9

Email: sales@decoustics.com
1.
Fabric finished panels shall be Type AP with chemically hardened edges. The panel shall be constructed of 6 to 7 lb./cu.ft (96 to 112 kg/cu.m.) density acoustically absorptive core of ½” (13mm), 1" (25mm), 1 ½” (38mm), 2” (50mm) thickness, and finished as detailed in this section. The core shall be free of surface defects and sanded as required to a uniform thickness, which will not vary by more than +/- 0.06" (1.6mm). The panels shall be fabricated to sizes supplied by the installing Contractor, using a CAD/CAM (CIM) Robotics cutting system to ensure accurate panel core dimensions to a tolerance of +/- 0.06" (1.6mm). Edges shall be chemically hardened to withstand moderate impact during installation and ongoing maintenance. Chemically hardened edges will be profiled as shown on the architectural drawings. Soft or non-framed edge treatments are not acceptable. All panels shall be clearly text marked with the project I.D. number, panel number, location code, quantity of units per size, and correspond to the shop drawings or bill of materials. 

2.
Finish shall be:


Architect/Designer specified finish.

Fabric finish shall be bonded to, (fabric may also be stretch applied over), the panel face, bonded to the panel edges and returned a minimum of one inch (25mm) on the back of the panel. The finish shall be flat and wrinkle free and fully tailored at corners with no exposed darting. All finishes shall be tested for suitability (ASTM D6207) and approved for use by the panel manufacturer prior to procurement and fabrication. 

3.
Installation shall be either by use of slide and engage clips (“Z”- clips), either into a DWC-7 anti-rattle wall clip, or into continuous wall track; or 
by adhesive; or adhesive and impaling clip; or magnetic mount; or hook and loop mount. Panel clips (DPC-3) and wall clips (DWC-7 or continuous wall track)) shall be a minimum 20 gauge satin-coat steel with wall clips mechanically mounted to the back of the panels. All fasteners (wall anchors, screws, adhesive, etc.) are to be supplied by the installing contractor.

4.
Installation shall be in accordance with local code requirements, manufacturers’ instructions, and as shown on Decoustics approved shop drawings, or detail sheets. Installer shall provide for shimming and adjustments as required to maintain consistent alignment of joints and of finished panel faces, and to ensure unstressed clip locations.

5.
Panels shall have noise reduction coefficient values of the following when tested in accordance with section 1.03 of this specification.

Panel







Frequency (Hz)

Type
 Thickness
    Finish*
125
250
500
1000
2000
4000
NRC SAA

AP
 ½” (13mm)        Fabric
0.04
0.12
0.30
0.69
0.87
0.95
0.50
0.49

AP
 1" (25mm)        Fabric
0.03
0.37
0.89
1.10
1.09
1.05
0.85
0.87

AP
1 1/2" (38mm)   Fabric
0.15
0.58
1.01
1.13
1.1
1.03
0.95
N/A

AP
 2" (50mm)        Fabric
0.23
0.81
1.19
1.19
1.11
1.12
1.05
1.07

* Fabric must be acoustically transparent for panel to produce absorption shown. 
PART 3  INSPECTION AND APPROVAL
3.01  Adjustment and Replacement
A.
The Owner shall inspect the installation and product on completion.  The manufacturer shall provide repair or replacement of components not conforming to requirements as stated herein, and said work will then become bound by the terms of this specification. 

B.
Installation labor for removal and replacement of product improperly installed and not conforming to specified installation methods as detailed in sections 2.01.3 and 2.01.4, and shown on approved shop drawings, shall be the responsibility of the installing Contractor.

3.02  Additional Material
A.
Provide to the Owner on completion of work, maintenance stock of fabric finish(es) used in an identical dye lot, the greater of an amount equal to 2% of the total yardage required or enough material to cover one of the largest acoustical units supplied.
Decoustics AP Wall Panels
Fabric Finish

October 2011

