GUIDE SPECIFICATION 

096516- Resilient Sheet Flooring
(Section 096516.23 – Vinyl Sheet Flooring)
Gerflor Mipolam Homogeneous Commercial Sheet Flooring with Evercare

      [image: image3.emf]







                                                 
[image: image2]
This is an editable document for preparing project specifications for Gerflor Mipolam Homogeneous Commercial Sheet Flooring with Evercare.
How to use this Guide Specification:

This is an “edit-out” document with specification language for several project options.              Select appropriate text based on the project requirements and delete (edit-out) all other text.
· Specifier notes are shown in blue like this: Editor Notes
· Locations where language for Project-specific requirements is to be inserted or selected are indicated like this: [insert] or [select text]. 
· Finally, remove Editor Notes and any unused optional text in the final version of the specification document. 
This document contains trademarks owned by Gerflor including Mipolam Symbioz, Mipolam Affinity, Mipolam Esprit, Mipolam Elegance, Mipolam Accord with Evercare surface treatment.
Gerflor USA, 595 Supreme Dr., Bensenville, IL 60106 USA. Phone: (877) 437-3567.                E-mail: info@gerflorusa.com. Website: www.gerflorusa.com 

SECTION 096516.23 – Vinyl Sheet Flooring
PART 1 -  GENERAL

1.1 SUMMARY

A. Section Includes: Resilient sheet vinyl flooring
1.2 ACTION SUBMITTALS 

A. Product Data: For each type of product indicated.

B. Manufacturer Certifications:

1. Provide certification that accurately identifies the Original Equipment Manufacturer (OEM) of flooring furnished for this project including manufacturer’s name, address and factory location. 

a. Suppliers of Private-Label flooring for this project must identify themselves as such and fully disclose the OEM information listed above. 
b. All “manufacturer” requirements in these specifications must be complied with by the OEM, including warranties, certifications, qualifications, product data, test results, environmental requirements, performance data, etc. 

2. Provide ISO 9001 certification for the OEM of the specified products.

3. Provide ISO 14001 certification for the OEM of the specified products.
4. Provide OSHAS 18001 certification for the OEM of the specified products.

C. Shop Drawings: Showing installation details and locations of borders, patterns, locations of floor inserts and seams.

D. Samples:

1. Manufacturer's color chart for selection of available floors 

2. Color samples:
a. Samples to be a minimum of 3’’ x 6’’
1.3 INFORMATIONAL SUBMITTALS

A. Qualification Data:

1. For a qualified resilient flooring Manufacturer.

2. For a qualified resilient flooring Installer.

1.4 CLOSEOUT SUBMITTALS

A. Submit three copies of the following:

1. Manufacturer maintenance instructions.

2. Manufacturer material warranty.

3. Installer installation warranty.

1.5 QUALITY ASSURANCE

A. Manufacturer Qualifications:

1. ISO 9001 Certified.

2. ISO 14001 Certified.

3. OHSAS 18001 Certified.

4. At least ten years active experience in the manufacture and marketing of commercial resilient flooring.

5. A provider of authorized installer training.

B. Installer Qualifications:

1. At least five years experience in the installation of resilient flooring.

2. Experience on at least five projects of similar size, type and complexity as this project.

3. Employer of workers for this Project who are competent in techniques required by manufacturer for resilient flooring installation indicated.

C. Fire Test Characteristics: As determined by testing identical products according to ASTM E 648, Class 1, by a qualified testing agency acceptable to authorities having jurisdiction.

1.6 DELIVERY, STORAGE, AND HANDLING

A. Store flooring and installation materials in protected dry spaces, with ambient temperatures maintained within range recommended by manufacturer, but not less than 55 deg F (13 deg C) nor more than 85 deg F (29 deg C).

B. Store the indoor resilient surfacing rolls in an upright position on a smooth flat surface immediately upon delivery to Project.

1.7 FIELD CONDITIONS

A. Product Installation:
1. Maintain temperatures during installation within range recommended by manufacturer, but not less than 65 deg F (18 deg C) in spaces to receive flooring one week before installation, during installation, and one week after installation.
2. After installation, maintain temperatures within range recommended by manufacturer, but not less than 55 deg F (13 deg C) or more than 85 deg F (29 deg C).
3. Prohibit traffic during flooring installation and for at least 48 hours after flooring installation.

B. Install flooring only after other finishing work, including painting and overhead work, has been completed.
1.8 WARRANTY

A. Special Limited Warranty: Manufacturer's standard form in which manufacturer agrees to repair or replace flooring that fails within specified warranty period.

1. Material warranty must be direct from the product manufacturer.

a. Material warranties from separate or third party insurance providers are not valid.

b. Material warranties from private label distributors are not valid.
2. Failures include, but are not limited to, the following:

a. Material manufacturing defects.

b. Surface wear and deterioration to the point of wear-through.

c. Failure due to substrate moisture exposure not exceeding 90 percent relative humidity when tested according to ASTM F2170 or 8 pounds moisture vapor emission rate when tested according to ASTM F1869.

3. Warranty Period:

a. For materials: 2 years from date of Substantial Completion.

b. For surface wear: 10 years from date of Substantial Completion.

c. For moisture vapor tolerance: 1 year from date of Substantial Completion.
B. Special Limited Warranty: Installer's standard form in which installer agrees to repair or replace flooring that fails due to poor workmanship or faulty installation within the specified warranty period.

1. Warranty Period: Two years from date of Substantial Completion.

1.9 ENVIRONMENT AND  INDOOR AIR QUALITY
A. LEED™ Documentation:
1. LEED v3 MR Credits: For products having recycled content, indicate percentage by weight of post-consumer and pre-consumer recycled content.
2. LEED v3 IEQ Credits: For adhesives and flooring, including a statement of VOC content.
3. LEED v4 MR Credit, Building Product Disclosure & Optimization, Environmental Product Declaration: Supply at minimum a product specific UL certified Environmental Product Declaration (EPD)

4. LEED v4 MR Credit, Building Product Disclosure & Optimization, Sourcing of Raw Materials: For products having recycled content, indicate percentage by weight of post-consumer and pre-consumer recycled content.

5. LEED v4 EQ Credits: For adhesives and flooring, including a statement of VOC content, FloorScore certified.
B. Indoor Air Quality Certification:
1. Flooring products must be FloorScore® Certified.

a. FloorScore® certification proves compliance with the volatile organic compound emissions criteria of the California Section 01350 standard.

b. FloorScore® certification proves compliance with the testing and product requirements of the California Department of Health Services “Standard Practice for the Testing of Volatile Organic Emissions from Various Sources Using Small-Scale Environmental Chambers.”

c. FloorScore® documentation must include certificate number for specified product.

C. Manufacturer Certification of Environmental Procedures:
1. Original Equipment Manufacturer’s (OEM)  ISO 14001 Certification 

D. Manufacturer’s Certification to Inhibit the Spread of Bacteria

1. Product certified ISO 22196 compliant to inhibit the spread of bacteria at 99.9%

1.10 COORDINATION

A. Coordinate layout and installation of flooring with other equipment.
PART 2 -  PRODUCTS
2.1 COMMERCIAL SHEET VINYL FLOORING
Editor Note: Select specific Mipolam design and description where indicated. 

A. Basis-of-Design Manufacture: Subject to compliance with requirements, provide Gerflor Mipolam 
[Accord [insert design] a 2mm thick, 6’6’’ wide marbleized semi-directional homogeneous sheet vinyl product providing excellent wear resistance for high traffic applications. Including the revolutionary Evercare surface treatment to provide a No Wax for Life surface and ISO 22196 antibacterial manufacturer’s attestation.]
[Elegance [insert design] a 2mm thick, 6’6’’ wide stylish non-directional homogeneous sheet vinyl product providing excellent wear resistance for high traffic applications. Including the revolutionary Evercare surface treatment to provide a No Wax for Life surface and ISO 22196 antibacterial manufacturer’s attestation.]
[Esprit [insert design] a 2mm thick, 6’6’’ wide stylish tone on tone non-directional chip homogeneous sheet vinyl product providing excellent wear resistance for high traffic applications. Including the revolutionary Evercare surface treatment to provide a No Wax for Life surface and ISO 22196 antibacterial manufacturer’s attestation.]
[Affinity [insert design] a 2mm thick, 6’6’’ wide stylish tone on tone non-directional chip homogeneous sheet vinyl product providing excellent wear resistance for high traffic applications. Including the revolutionary Evercare surface treatment to provide a No Wax for Life surface and ISO 22196 antibacterial manufacturer’s attestation.]
[Symbioz [insert design] a 2mm thick, 6’6’’ wide stylish tone on tone non-directional homogeneous sheet vinyl product with a 100% bio-based plasticizer providing excellent wear resistance for high traffic applications. Including the revolutionary Evercare surface treatment to provide a No Wax for Life surface and ISO 22196 antibacterial manufacturer’s attestation.]
                                                                     Flooring installed with full-spread standard adhesive.

Editor Note: 
Select one of the following 3 paragraphs to address consideration of additional manufactures: 

[image: image1.jpg]theflooringroup



If no substitutions will be accepted:

B. Substitution Limitations:

1. No substitutions. 
If products from other manufacturers will be considered, insert the manufacture’s name and the product name and/or model number:

C. Other Manufactures: Subject to compliance with all the requirements of this specification, provide products by one of the following:

1. [Insert flooring manufacturer name] : [Insert flooring product name/model].

If other manufacturers are allowed to submit requests for approval prior to bid:

D. Substitution Limitations:

1. All other manufacturers: Submit formal substitution request prior to bid in accordance with Section 012500 - "Substitution Procedures”.

2. Approval by Architect of other manufacturers does not relieve Contractor of responsibility to provide products which comply with all requirements of this specification.  
E. Product Description:  Unbacked homogeneous vinyl sheet floor covering complying with ASTM F1913.
1. Overall Thickness: Not less than 0.08 inch (2.0 mm)
2. Wear-Layer Thickness: Not less than 0.08 inch (2.0 mm)
3. Weight must be less than 0.60 pound/sq. ft. (2.9 kg/sq. m)
4. Max static load limit must exceed 1800 PSI

5. Seaming Method: Heat welded.

6. Adhesive Method:

a. Full-spread adhesive to completely adhere flooring to substrate.

b. Complete adhesive coverage to eliminate the possibility of gaps or space between the slab and flooring material where moisture could accumulate and create an environment conducive to mold growth.

c. Flooring to be adhered to the concrete slab in all locations eliminating the possibility of waves or wrinkles forming caused by the floor shifting, moving or by rolling loads displacing it.

7. Bacteriostatic Performance: ISO 22196 compliant.
8. 100% REACH Compliant.

9. Applied Finish: Manufacturer's, factory-applied, permanent, laser and UV-cured.
a. No-Wax finish: Published product literature identifying factory UV-cured applied finish as, “No-Wax-Just clean and rinse”
b. Basis-of-Design Product: Gerflor Evercare
10. Field-Applied Finishes: None required and not allowed.
11. Roll Size: 

a. Roll Width: Rolls to be a minimum width of 6’6’’ wide.

b. Roll Length: rolls to be a minimum length of 66 feet. 
12. Color and Pattern: 

a. As selected by Owner from manufacturer's standard colors and patterns.

F. Performance Criteria:
1. ASTM F1913 for vinyl sheet floor covering without backing
a. Provide test certificate to show compliance with ASTM F1913

2. Static Load Limit/ Maximum Static Load:

a. ASTM F970: Lower than -0.003’’
b. Modified ASTM F970 for maximum static load, 2000 PSI

3. Residual Indentation: ASTM F1914; Lower than -0.005’’
4. Impact Resistance: ASTM F925; Excellent, results on request
5. Impact Insulation Class: ASTM E989 (E492); 42
6. Fire Performance: ASTM E 648; Class 1
7. Surface Maintenance Requirements: No-wax surface requiring only cleaning and rinsing.
8. Slab Moisture Design Tolerance: 
a. With Gerflor Spray adhesive: 8lbs / 95% RH.
b. With TPS+ Adhesive: 5lbs / 80% RH

2.2 ACCESSORIES 

A. Trowelable Leveling and Patching Compound: Latex-modified, hydraulic-cement-based formulation approved by the flooring manufacturer.
B. Adhesives: Water-resistant type recommended by flooring manufacturer for substrate and conditions indicated.
a. Basis-of-Design Product: Gerflor Gerfix TPS+, Gerflor Spray Adhesive.
b. Coverage Type: Full-spread application.
C. Heat Welding Rod: As supplied by indoor flooring manufacturer. Color shall blend with resilient flooring color.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Verify the Following:

1. The area in which the indoor resilient flooring will be installed is dry, weather-tight and in compliance with specified requirements.

2. Permanent heat, lighting and ventilation systems are installed and operable.

3. Other work, including overhead work, that could cause damage, dirt, dust or otherwise interrupt installation has been completed or suspended.

4. No foreign materials or objects are present on the substrate and that it is clean and ready for preparation and installation.

5. Tests to verify that the moisture vapor emission rate or substrate relative humidity is within the specified ranges.

6. The concrete slab surface pH level is within the specified range.

7. The concrete slab surface deviation is no greater than 3/16 inch within 10 feet (4.5 mm within 3 m) as described in AC1117R.

8. The concrete slab complies with ACI 302.2R for concrete design including use of a low-permeance vapor barrier directly beneath the concrete subfloor with sealed penetrations.
3.2 PREPARATION

A. Prepare substrates according to manufacturer's written recommendations to ensure proper adhesion of resilient flooring system.

B. Concrete Substrates: Prepare according to ASTM F 710.

1. Verify that substrates are dry and free of sealers, curing compounds and other additives. Remove coatings and other substances that are incompatible with adhesives using mechanical methods recommended by manufacturer.
2. Alkalinity Testing: Perform pH testing according to ASTM F 710. Proceed with installation only if pH readings are less than 11. 

C. Moisture Testing: Perform ASTM F 2170 relative humidity test and proceed with installation only after substrates have maximum relative humidity of 90 percent. Or perform ASTM F 1869 calcium chloride test and proceed with installation only after substrates have maximum moisture-vapor-emission rate of 8 lb/1000 sq. ft. in 24 hours.
D. Use trowelable concrete based leveling and patching compound with the same moisture vapor tolerance as the adhesive to fill depressions, holes, cracks, grooves or other irregularities in substrate.

E. Place flooring and installation materials into spaces where they will be installed at least 48 hours before installation. Install flooring materials only after they have reached the same temperature as space where they are to be installed.

F. Sand the surface of the concrete slab. 

G. Sweep and then vacuum substrates immediately before installation. After cleaning, examine substrate for moisture, alkaline salts, grit, dust or other contamination. Proceed with installation only after unsatisfactory conditions have been corrected.
3.3 VINYL SHEET FLOORING INSTALLATION

A. General:

1. Comply with resilient flooring manufacturer's installation instructions.
2. Take necessary precautions to minimize noise, odors, dust and inconvenience during installation.
3. Fit flooring neatly and tightly to vertical surfaces, equipment anchors, floor outlets, and other interruptions of floor surface.

4. Extend flooring into toe spaces, door reveals, closets, and similar openings unless otherwise indicated.
B. Lay out flooring as follows:
1. Minimize number of seams and place them inconspicuous areas.

2. Locate seams as shown on approved Shop Drawings
C. Adhered Flooring: Attach products to substrates using a full spread of adhesive applied to substrate to comply with adhesive and flooring manufacturer instructions.

D. Vinyl Sheet Flooring Seams: Finish seams to produce surfaces flush with adjoining flooring surfaces. Comply with ASTM F 1516. Rout joints and use heat welding rod to permanently and seamlessly fuse sections together.

3.4 CLEANING AND PROTECTION

A. Perform the following operations after completing resilient flooring installation:

1. Remove marks and blemishes from flooring surfaces.

2. Sweep and then vacuum flooring.

3. Damp-mop flooring to remove soiling.

B. Protect flooring from abrasions, indentations, and other damage from subsequent operations and placement of equipment, during remainder of construction period.

END OF SECTION
PAGE  
Page 1 of 11
January 2015

