Division 06 61 00
BioPrism® Solid Surface

Sheet

PART 1 – GENERAL

1.01 SUMMARY

A. BioPrism® Solid Surface Sheet

1.02 SECTION INCLUDES

A. Solid Surface sheet

1.03 REFERENCES

A. American National Standards Institute (ANSI)

B.  International Cast Polymer Alliance (ICPA)

C. National Fire Protection Association (NFPA)

D. Greenguard

1.04 SYSTEM DESCRIPTION

A. Provide solid surface sheet that conforms to the following requirements of regulatory agencies and the quality control of Inpro® Corporation.

1. Provide solid surface material that conforms to ANSI/ICPA SS-1 for workmanship and finish, structural integrity and material characteristics.

2. Fungal and Bacterial Resistance: Provide BioPrism® Solid Surface that does not support fungal or bacterial growth as tested in accordance with ASTM G-21 and ASTM G-22.

3. Fire Performance Characteristics: Provide BioPrism® Solid Surface Sheet conforming with the NFPA class A fire rating as determined by ASTM E-84.

4. Provide solid surface material that meets the emission level requirements of Greenguard certification, with results satisfying the chemical emissions requirement of California Section 1350.

5. Provide solid surface material that meets the requirements of Greenguard Children and School Chemical emissions level.

1.05 SUBMITTALS

A. Product Data: Manufacturer’s printed product data for each type of sheet specified.

B. Samples: Color samples a minimum of 1.5" x 3" indicating color and pattern.

C. Manufacturer’s Installation Instructions: Printed installation instructions for each type of sheet specified.

1.06 DELIVERY STORAGE AND HANDLING

A. Deliver materials in unopened factory packaging to the jobsite.

B. Inspect materials at delivery to assure that specified products have been received.

C. Store in original packaging in an interior climate controlled location away from direct sunlight.

1.07 PROJECT CONDITIONS

A. Environmental Requirements: Products must be installed in an interior climate controlled environment.

1.08 WARRANTY

A. Standard BioPrism® Solid Surface Limited 10 Year Warranty against material and manufacturing defects

PART 2 – PRODUCTS

2.01 MANUFACTURER

A. Acceptable Manufacturer: Inpro® Corporation
PO Box 406 Muskego, WI 53150 USA

Telephone: 800.222.5556, Fax: 888.715.8407

inprocorp.com
B. Substitutions: Not permitted

C. Provide all Solid Surface Sheet from a single source.

2.02 MANUFACTURED UNITS

A. Solid Surface Sheet

1. 1/4" thickness

a. Sizes, width x length

30” x 84”

30” x 96”

30” x 120”

30" x 144”
36" x 84”

36” x 96”
36” x 120”

36” x 144”

48" x 84”

48” x 96”
48” x 120”

48” x 144”

60” x 84”

60” x 96”
Custom sizes: specify

b. Edge Options: 
i. Unfinished

ii. Eased

iii. Radius

iv. Beveled
v. Wavy Edge
2.   1/2" thickness

a. Sizes, width x length

30" x 96"

30" x 120"

30" x 144"

36" x 96"

36" x 120"

36" x 144"

Custom sizes: specify; Maximum size 36" x 144"

b. Edge Options: 
i. Unfinished

ii. Eased

iii. Radius

iv. Beveled
2.03 ACCESSORIES

A. Solid Surface Bonding Adhesive

B. Adhesive Cartridge Dispenser

C. Adhesive Mixing Tips

D. Silicone Sealant

2.04 MATERIALS

A. Solid Surface: BioPrism® Solid Surface material shall be manufactured from polyester/acrylic blended resins with natural filler material.

2.05 FINISHES

A. Select color from Inpro® Corporation BioPrism® Solid Surface color palette.

2.06 FABRICATION
A. Fabricator should be familiar with the cutting, machining, sanding, polishing and seaming of solid surface materials.

B. Produce joints connecting components using manufacturer’s joint adhesive. Joints shall be inconspicuous in appearance.

C. Finish: Finish all surfaces uniformly.

PART 3 – EXECUTION

3.01 EXAMINATION

A. Examine areas and conditions in which wall cladding will be installed.

3.02 PREPARATION

A. General: Prior to installation, clean area to remove dust, debris and loose particles.

3.03 INSTALLATION

A. General: Install components plumb and level, scribe adjacent finishes, in accordance with approved shop drawings and recommended installation instructions.

3.04 CLEANING

A. At completion of the installation, clean surfaces in accordance with the Inpro ® Decorative Surfaces clean-up and maintenance instructions.
END OF SECTION
IPC.749/REV.12

[image: image1]

[image: image1]