Division 06 61 00

BioPrism® Solid Surface

Standard Shower Receptors

PART 1 – GENERAL

1.01 SUMMARY

A. Shower Receptors

1.02 SECTION INCLUDES

A. Solid Surface Shower Receptors

1.03 REFERENCES

A. American National Standards Institute (ANSI)

1.04 SYSTEM DESCRIPTION

A. Performance Requirements: Provide shower receptors that conform to the following requirements of regulatory agencies and the quality control of Inpro® Corporation.

1. Provide shower receptors that conform to ANSI 124.1.2-2005 when tested for workmanship and finish, structural integrity and material characteristics.

2. Fungal and Bacterial Resistance: Provide BioPrism® Solid Surface that does not support fungal and bacterial growth as tested in accordance with ASTM G-21 and ASTM G-22.

1.05 SUBMITTALS

A. Product Data: Manufacturer's printed product data for each type of shower receptors specified.

B. Samples: Verification samples minimum of 1.5" x 3" samples indicating color and pattern.

C. Manufacturer's Installation Instruction: Printed installation instructions for shower receptors.

1.06 DELIVERY, STORAGE AND HANDLING

A. Deliver materials in unopened factory packaging to the jobsite

B. Inspect materials at delivery to assure that specified products have been received.

C. Store in original packaging in an interior climate controlled location away from direct sunlight.

1.07 PROJECT CONDITIONS

A. Environmental Requirements: Products must be installed in an interior climate controlled environment.

1.08 WARRANTY

A. Standard BioPrism® Solid Surface Limited 10 Year Warranty against material and manufacturing defects.

PART 2 – PRODUCTS

2.01 MANUFACTURER

A. Acceptable Manufacturer: 


Inpro® Corporation

PO Box 406 Muskego, WI 53150 USA

Telephone: 800.222.5556, Fax: 888.715.8407,

www.inprocorp.com

B. Substitutions: Not permitted

C. Provide all shower receptors from a single source.

2.02 MANUFACTURED UNITS

A. Shower Receptors (Non-ADA) 

1.  Square
a. 32”x32”

b. 36”x36”

2.  Rectangular
a. 30”x42”

b. 42”x36”

3.  Neo-Angle
a. 42”x42”

4. Neo-Angle w/Wing Walls

a. 42”x42” 
B. Shower Drain: 

1.  Shower drain shall be Oatey number 42150, Brass, No-caulk, Drain w/Brass or Stainless Steel Snap-Tite Strainer. Drain body is sealed to shower base with a fiber and rubber washer. Drain is secured to 2”, 40 DWV pipe with a mechanically compressed gasket that does not require caulking. 

2.  Shower drain shall be Ferguson PFP600 Tamper Resistant PVC Shower Drain with Stainless Steel Strainer secured to 2”, 40 DWV pipe

2.03 MATERIALS

A. BioPrism® Solid Surface: Shower receptors shall be manufactured from a bio polyester and acrylic hybrid resin with natural filler material.

2.04 FINISHES

A. Select color from Inpro® BioPrism® Solid Surface Shower Systems color Palette.

PART 3 – EXECUTION

3.01 EXAMINATION

A. Examine areas and conditions in which shower receptors will be installed.

3.02 PREPARATION

A. General: Prior to installation, clean area to remove dust, debris and loose particles.

3.03 INSTALLATION

A. General: Install components plumb and level, scribe adjacent finishes, in accordance with approved shop drawings and recommended installation instructions.

3.04 CLEANING

A. At completion of the installation, clean surfaces in accordance with the Inpro® BioPrism® Solid Surface clean-up and maintenance instructions.

END OF SECTION

IPC 1970 Rev.3
[image: image1.emf]


Inprocorp.com  •  800.222.5556  •  262.679.9010     
World Headquarters S80 W18766 Apollo Drive, Muskego, WI 53150  USA










Inprocorp.com  •  800.222.5556  •  262.679.9010     

World Headquarters

 S80 W18766 Apollo Drive, Muskego, WI 53150  USA

 

[image: image1.emf]