| USG Structural Panel Concrete Subfloor USG Form Number - SCP6 Specification Copyright 2017 08/25/2017 | 06 12 13 |  |
| --- | --- | --- |
| Disclaimer: The USG Product Specifications contained herein are intended for use as product reference material by architects, engineers, other design professionals, contractors, building code officials, or other competent construction industry trade professionals having an interest in the selection, specification and use of products manufactured by the subsidiaries of USG Corporation. The Specifications are intended solely as technical support incident to the sale and use of USG products and not intended to be a substitute for the design review and approval of the licensed design professionals for the project. These materials may be printed and/or transferred electronically solely as needed by the user. Because CAD electronic files and BIM (Building Information Modeling) files with the Autodesk Revit Platform can be modified by other parties, without notice or indication of such modifications, modification of USG Product Guide Specifications and Drawings is the sole responsibility of the Design Professional. |  |  |

Specification for USG Structural Panel Concrete Subfloor

# Floor Systems

PART 1 - GENERAL

1.01	SUMMARY

- Description of Work:  Work of this Section includes, but is not limited to, the following:

  - Framing.

  - Fasteners.

  - Underlayment and floor coverings.

  - Sound attenuation.

1.02	RELATED WORK SPECIFIED ELSEWHERE

- See Section 05 20 00, Metal Joists

- See Section 05 40 00, Cold-Formed Metal Framing

- See Section 06 10 00, Rough Carpentry

- See Section 09 30 00, Tiling

- See Section 09 60 00, Flooring

- See Section 13 40 00, Integrated Construction

1.03	SYSTEM DESCRIPTION

USG Structural Panel floor system consists of steel joists, trusses or wood framing members and USG Structural Panel Concrete Subfloor installed with mechanical fasteners. USG Structural Panel Concrete Subfloor is a high-strength reinforced concrete panels for use in noncombustible construction, as required by the applicable building codes.  Adhesives are not recommended, nor required.

1.04	REFERENCES

- ICC-ES AC318 – Acceptance Criteria for Structural Cementitious Floor and Roof Sheathing Panels

- ICC-ES AC319 – Acceptance Criteria for Horizontal Diaphragms Consisting of Structural Cementitious Floor Sheathing Panels Attached to Cold-Formed Steel Framing

- ASTM A588/A588M – Standard Specification for High-Strength Low-Alloy Structural Steel, up to 50 ksi [345 MPa] Minimum Yield Point, with Atmospheric Corrosion Resistance

- ANSI/AISI S100 – North American Specification for the Design of Cold-Formed Steel Structural Members

- ANSI/AISI S210 – North American Specification for Cold-Formed Steel Framing – Floor and Roof System Design

- ANSI/AISI S214 – North American Specification for Cold-Formed Steel Framing – Truss Design

- ANSI/AISI S230 – Standard for Cold-Formed Steel Framing – Prescriptive Method for One and Two Family Dwellings

- ASTM E84-17 – Standard Test Method for Surface Burning Characteristics of Building Materials

- ASTM E90-06(2016) – Standard Test Method for Laboratory Measurement of Airborne Sound Transmission Loss of Building Partitions and Elements

- ASTM E119-16 – Standard Test Method for Fire Tests of Building Construction and Materials

- ASTM E136-16 – Standard Test Method for Behavior of Materials in a Vertical Tube Furnace at 750° C

- ASTM E492-09(2016) - Standard Test Method for Laboratory Measurement of Impact Sound Transmission Through Floor-Ceiling Assemblies Using the Tapping Machine

1.05	SYSTEM REQUIREMENTS

- Performance Requirements:  Fabricate and install systems as indicated:

- Floor Framing:

  - Deflection: minimum L/360

  - Uniform Floor Load: 330 PSF (15.8 kPa) (Ultimate)

  - Framing Spacing: maximum of 24 inches (610 mm) on center

- Fasteners: Follow the selected fastener layout for screw patterns, for designed Diaphragm Loads as selected from Progressive Engineering, Inc.’s 
Evaluation Report PER-13067

- Panel Layout: Comply with USG Structural Panel Concrete Subfloor application described in the current Progressive Engineering, Inc.’s Evaluation Report 
PER-13067

- Fire Resistance Ratings:  Where fire resistance classifications are indicated, provide materials and application procedures identical to those listed by UL or tested according to ASTM E119 for type of construction shown.
Note: Fire-resistance ratings may require lighter gauge framing than required for Shear- or Uniform-Loading.  A structural engineer shall review and select the correct gauge framing allowed by fire-resistance and load rating.

- Noncombustibility:  Where noncombustible assemblies are required, provide materials and application procedures identical to those tested according to ASTM E136-16, “Standard Test Method for Behavior of Materials in a Vertical Tube Furnace at 750 °C.”
Note: Materials with modified ASTM E136-16 evaluations are not acceptable.

- Acoustical Ratings:  Where sound ratings are indicated, provide materials and application procedures identical to those tested by manufacturer to achieve Sound Transmission Class (STC) in accordance with ASTM E90 and/or Impact Insulation Class (IIC) in accordance with ASTM E492 specified.

1.06	DELIVERY, STORAGE AND HANDLING

- Delivery:

  - Deliver material to site promptly without undue exposure to weather.

  - Deliver in manufacturer’s unopened containers, pallets, or panels fully identified with name, brand, type and grade.

- Storage:

  - Store above ground in dry, ventilated space.

  - Protect materials from soiling, and damage.
Note: If USG Structural Panels are frozen while stored outdoors, allow to thaw-out naturally. Do not use salts or fertilizers to defrost the panels.

  - Panels must be stored over stable soil.  Soil must be able to carry the load of the pallets. Each 20 piece pallet weights 3500 lbs (1542 kg).

  - Pallets must not be stacked over ±1/2 inch (13 mm) off the pallet edge.

1.09	PROJECT CONDITIONS

- Environmental Requirements:

- When mechanically fastened, do not install USG Structural Panel Concrete Subfloor when ambient or conditioned temperature is below 0 °F (-18 °C).

- Prior to the application of finished flooring, USG Structural Panel Concrete Subfloor must be conditioned at the same temperature as required for the finished flooring for at least 48 hours.

- Do not apply finished flooring over USG Structural Panel Concrete Subfloor when wet, frozen or containing frost.  
Note: If installed panels have snow or ice, do not use salts or defrosting agents, sand is recommended over slippery surfaces.

PART 2 – PRODUCTS

2.01	PRODUCTS AND MANUFACTURERS

- Structural Concrete Panel:  Listed products establish standard of quality and are manufactured by United States Gypsum Company (USG), Chicago, IL.

2.02	MATERIALS

- Structural Concrete Panel:

- USG Structural Panel Concrete Subfloor, A noncombustible structural subfloor panel manufactured in accordance with Acceptance Criteria AC318.

  - Panel Dimensions:

    - Thickness: 3/4 inch (19 mm)

    - Width: 47 3/4 inches (1213 mm) actual [48 inches (1220 mm) nominal]

    - Lengths: [96 inches (2440 mm)] or [72 inches (1829 mm)] or [80 inches (2032 mm)]

    - Edges:  Tongue & Groove

  - Panel Properties:

    - Density: 75 lb/ft3 (1201 kg/m3) tested in accordance with ASTM C1185

    - Weight: 5.3 lb/ft2 (25.9 kg/m2) tested in accordance with ASTM D1037 at a thickness of 3/4 inch (19 mm)

    - pH Value: 10.5 tested in accordance with ASTM D1293

    - Noncombustibility: Pass tested in accordance to ASTM E136-16

    - Surface Burning Characteristics: when tested in accordance with ASTM E84

0 Flame Spread / 0 Smoke Developed

    - Mold Resistance: 10 tested in accordance with ASTM D3273
1 tested in accordance to ASTM G21

    - Termite resistance: 9.8 when tested in accordance with AWPA E1.

    - VOC Emissions: Low VOC compliant; tested in accordance with California Department of Public Health (CDPH/EHLB) Standard Method Version 1.1, 2010 (Emission Testing for CA Specification 01350)

- USG Structural Panel Concrete Subfloor Fasteners: To select the appropriate fastener to specific type of framing, reference Table 2 of Progressive Engineering, Inc.’s Evaluation Report PER-13067

- Floor Coverings and Underlayment: Follow floor covering manufacturers’ installation procedures

- Sound Attenuation: Consult with USG for sound system design and products

PART 3 – EXECUTION

3.01	EXAMINATION

- Examine substrates, adjoining construction, and the conditions under which Work is to be installed.  Do not proceed with Work until unsatisfactory conditions are corrected.

- Steel framing to receive the USG Structural Panel Concrete Subfloor shall be structurally sound, free from bows, twists or other malformations and in general compliance with local building code requirements. Damaged framing shall be replaced before installation of USG Structural Panel Concrete Subfloor.

3.02	GENERAL INSTALLATION REQUIREMENTS

- Framing Installation:

- The floor joists and other floor framing components must be designed to meet the strength and deflection criteria specified in the contract documents.

- Cold-formed steel shall comply with AISI-General, with a minimum 54 mils or 
0.0538 inch (1.37 mm) base metal thickness (No.16 gauge) and a minimum G60 galvanized coating. 
Note: A structural engineer must review and approve the use of lighter gauge joists.

- The attachment flange or bearing edge must be a minimum 1-5/8 inch (41 mm) wide.

- The panel must bear on the supporting flange or edge at least 3/4 inch (19 mm)

- Provide a uniform and level joist bearing at wall-to-floor connections.

- Locate joists directly over bearing studs or a header installed at the top of the load bearing wall to distribute load.

- On steel framing, provide a web stiffener at reaction points and/or concentrated. Provide end blocking where joist ends are not otherwise restrained from rotation.

- Provide additional joists under parallel partitions and around floor openings that interrupt one or more spanning members. Properly fasten framing to the supporting walls or structure.

- Install blocking or bridging prior to installation of USG Structural Panel Concrete Subfloor.

- Framing must be of good quality, free of bows, twists or other malformations.

- USG Structural Panel Concrete Subfloor Application:

- The panels shall be cut to size with a circular saw equipped with carbide-tipped cutting blade and a dry dust collection device or a water-dispensing device that limits the amount of airborne dust.

  - Wear safety glasses and a NIOSH-approved dust mask when cutting the panel.

  - Dispose of collected dust in a safe manner and in compliance with local, state and federal ordinances.

- USG Structural Panel Concrete Subfloor shall be installed in a horizontal manner (long edges perpendicular to the framing) in a running bond pattern.

Note: The fire, sound and structural ratings for USG Structural Panels are based on mechanical attachment only.

- Begin panel installation by snapping a line across the joists parallel to the rim joist at a distance equal to the width of the first panel being placed.

  - Given that panel width is 48 inch (1220 mm), plan the layout so the first and last panel row width is a minimum of 24 inch (610 mm) wide.

  - In the case where the row width is less than 24 inch (610 mm) wide, panels shall be blocked on all edges by framing (flat stock metal strapping is not sufficient to carry uniform loads).

- Ensure that all supporting members are free of debris before placing panels. Place the cut edge or tongue along the rim joist.

  - Place each panel across three or more supports (minimum two-span condition). Cut panels to length as needed to ensure that the butt end of the panel is centered on the framing member.

  - Install panels in a direction that ensures that the butt end falls over the open side of the joist. This will help keep adjacent ends in the same place.

- Fasten panels following the fastening schedule listed in the contract documents. Begin fastening at one end and fan out across the panel. Do not fasten all the corners first. 
Note: Fastener edge distance will vary depending on the type of framing selected, to select the appropriate fastener to specific type of framing, reference Table 2 of Progressive Engineering, Inc.’s Evaluation Report PER-13067

  - After the installation of one complete row, begin the next row. Slide panels together so that the tongue of the panel being installed fits into the groove of the installed panel.

  - If there is construction debris lodged inside the groove, do not force the tongue into the clogged groove. Clean the plugged groove with a stiff bristle brush to dislodge the trapped debris.

  - Do not gap the panels.

  - Install the second panel and all subsequent panels in a similar manner to complete the row.

  - Install all rows in a running bond pattern so that end joints fall over the center of the framing members and are staggered by at least two supports from where the end joints fall in the adjacent rows.

  - Fasten outside corner of first installed panel, progressively fan out fastener installation to adjacent panel edges in a progressive manner

- Make cutouts in panels before installing the panel whenever possible.

  - If a cutout is required after the panel is installed, set the depth of the saw blade to ensure that the framing is not scored.

  - Support the ends and edges of cutouts with framing if they are larger than
6 inches (153 mm) in diameter (refer to: SCP14 Page 7 - Field Installation Guide – Panel Penetrations).

- Ensure panel is flush with supporting member, drive fasteners so the heads are flush with the surface of the board.

- During Construction Traffic Protection – prior to floor finishing, place “sheathing materials” on the floor in high traffic areas with newly installed USG Structural Panel Concrete Subfloor (i.e. additional USG Structural Panels or plywood).

- Clean Up:

- Leftover material shall be removed from the job site.

- Remove all foreign material from the floor surface with a broom and (or) vacuum.

- Floor Underlayments:

  - Poured Underlayments: 
USG Levelrock® Brand or DUROCK™ Brand floor underlayments can be poured directly onto USG Structural Panel Concrete Subfloor in lieu of underlayment panels.

    - All USG Structural Panel Concrete Subfloor panel joints should be prepared using duct tape or equivalent, to prevent underlayment seepage.

    - To minimize sound transmission between the floor and wall and to minimize expansion & cracking, install USG Levelrock® Brand Perimeter Isolation Strip. (See IG1874 USG Levelrock® Brand Perimeter Isolation Strip submittal sheet)

    - Subfloor must be properly prepared and primed with USG Durock™ Primer-Sealer per the non-porous application instructions.  (See CB519 USG Durock™ Brand Primer-Sealer submittal sheet)

    - Install USG Levelrock® or Durock™ Brand Underlayment per manufacturers written guidelines.

  - Panel Underlayments:
Installation of USG FIBEROCK® Underlayment over USG Structural Panel Concrete Subfloor (See F103 USG FIBEROCK® Brand Tile Backer Board and Underlayment Submittal Sheet)

    - Begin laying panels at one corner. Lay cut of FIBEROCK® Underlayment edges against the wall; only factory edges should be joined. Maintain 1/4 inch (6.35 mm) space between panels and perimeter walls.

    - Stagger joints a minimum of 16 inches (406 mm) so that four panel corners never meet, and offset end and edge joints of panels a minimum of 
12 - 16 inches (305 - 406 mm) from subfloor panel joints. Adjoin panel edges and ends lightly together. A maximum 1/32 inch (0.76 mm) gap is allowed.

    - The FIBEROCK® Underlayment must be bonded with modified thin set mortar

    - Staples 1/4 inch (6.35 mm) crown, 18 gauge (0.0428 inch [1.09 mm], and 1 inch (25.4 mm) legs) to be installed at 4 inches (102 mm) on center in the field and 1 inch (25.4 mm) on center along the perimeter of the FIBEROCK® Underlayment.  Set pneumatic tool pressure to drive fasteners flush or slightly below underlayment surface. To prevent fastener heads from telegraphing through resilient floor covering, do not countersink more than 
1/16 inch (1.58 mm) below surface.

    - Use patching compound sparingly to fill wide joints, repair any surface voids and correct joint lippage (panel edge sitting above or below the floor plane). Carefully fill joints wider than 1/32 inch (0.76 mm) and any surface imperfections with only enough material to infill void - do not feather. Correct joint lip-page by applying patching compound to low side only and feathering to level. Allow compound to dry completely (90 min. minimum), then lightly sand or scrape, taking care not to scuff panel surface; use a flat blade to scrape away any excess material. Remove dust, dirt and debris from underlayment surface before application of floor covering.

  - Installation of USG Durock® Brand Cement Board Underlayment over USG Structural Panel Concrete Subfloor  (See CB399 USG Durock® Brand Cement Board Submittal Sheet)

    - Install cement board with ends and edges closely abutted, but not forced together. Stagger end joints in successive courses.

    - Stagger joints a minimum of 16 inches (406 mm) so that four panel corners never meet, and offset end and edge joints of panels a minimum of 
12 - 16 inches (305 - 406 mm) from subfloor panel joints.

    - Laminate USG Durock® cement board to subfloor using Type 1 organic adhesive or latex-modified thin-set mortar suitable for bonding cement board.

    - Fasten to USG Structural Panel Concrete Subfloor with 1-1/4 inch 
(31.75 mm) USG Durock™ Brand Tile Backer Screws for wood framing (or equivalent) or 1-1/2 inch (38.1 mm) hot-dipped galvanized roofing nails spaced 8 inch (204 mm) on center in both directions with perimeter fasteners at least 3/8 inch (9.52 mm) and less than 5/8 inch (15.8 mm) from ends and edges.  Drive nails and screws so that bottoms of heads are flush with panel surface to ensure firm panel contact with subfloor. Do not overdrive fasteners.

    - Prefill joints with tile-setting mortar or adhesive and then immediately embed USG Durock™ Brand Tile Backer Tape and level joints.

  - Tile Membrane: 
USG DUROCK™ Brand Tile Membrane can be installed directly onto USG Structural Panel Concrete Subfloor in lieu of underlayment panels. (See CB492 USG DUROCK™ Brand Tile Membrane Submittal Sheet)

    - For floor applications, precut full width of membrane to provide tight fit to room perimeter

    - Use USG DUROCK™ Tile Membrane Adhesive to bond Tile Membrane to USG Structural Panel Concrete Subfloor. (For complete installation instructions See CB511 DUROCK™ Tile Membrane Adhesive Submittal Sheet)

- Floor Covering:

- Before the application of floor finish materials, ensure that all panels are properly fastened, with the fastener head driven flush or slightly below the surface of the panels. If required butt joints and T&G joints shall be filled with an elastomeric patching compound [cement based compounds, can crack].

- Wood flooring – Apply a building paper, No. 15 felt or equivalent, over USG Structural Panel Concrete Subfloor prior to applying wood flooring. For engineered wood flooring, use the moisture barrier recommended for the engineered wood flooring system specified in lieu of the building paper. Follow the wood flooring manufacturer’s installation instructions for applying wood flooring to plywood or OSB floor sheathing. USG Structural Panels must be kept dry and maintained in a conditioned space for a minimum of 30 days prior to installation of wood flooring.

- Ceramic tile – Ceramic tile should be installed over an underlayment panel or poured underlayment as described in Section 3.02.D.2 of this specification. Apply Ceramic tile in accordance with ceramic tile manufacturer’s instructions.

- Carpet – For residential carpet & pad, apply tackless strips (designed for concrete application) for the installation of stretched carpet. Residential carpet and pad can be installed directly to USG Structural Panel Concrete Subfloor or to an underlayment. For all Carpet Tile, it is recommended to use an underlayment as described in Section 3.02.D.2 of this specification.

- For vinyl or linoleum flooring, an appropriate underlayment should be used as described in Section 3.02.D.2 of this specification.

- If USG Structural Panel Concrete Subfloor is left bare in extremely-light traffic areas, it is recommended that you seal the panels with a concrete sealer to seal the porous surface.

END OF SECTION