Commercial Window Treatment Specification
Division 12 – Furnishings

Section 12492 – 1” Mini Horizontal Aluminum Blinds (Premium Quality)
Commercial Window Treatment Specification
Division 12 – Furnishings

Section 12492 – 1” Mini Horizontal Aluminum Blinds (Premium Quality)


PART 1 – GENERAL

1.01 SCOPE

A. SUPPLIER: Furnish and install 1” Mini Horizontal Aluminum Blinds (Premium Quality)

B. RELATED WORK SPECIFIED ELSEWHERE:

1. Section 06100: Rough Carpentry

2. Section 08520: Aluminum Windows

1.02 REFERENCES

A. FLAME-RESISTANT MATERIALS SHALL PASS OR EXCEED ONE OR MORE OF THE FOLLOWING TESTS:

· National Fire Protection Association (NFPA) 701 (small scale for horizontal applications)

· Department of Transportation Motor Vehicle Safety Standard 302 Flammability of Interior Materials

· California Administrative Code Title 19

· Federal Standard 191 Method 5903 (used by Port Authority of New York and New Jersey for drapery, curtain, and upholstery material)

· Boston Fire Department Test BFD IX-1

· New York State Uniform Fire Prevention and Building Code

1.03 SUBMITTALS

A. PRODUCT DATA: Manufacturer’s descriptive literature shall be submitted indicating materials, finishes, construction and installation instructions and verifying that product meets requirements specified. Manufacturers recommendations for maintenance and cleaning shall be included.

B. DRAWINGS AND DIAGRAMS: Wiring diagrams of any motorized components or units, working and assembly drawings shall be supplied as requested.   

C. SAMPLE: Responsible contracting officer or agent shall supply one sample shade of each type specified in this contract for approval. Supplied units shall be furnished complete with all required components, mounting and associated hardware, instructions and warranty.

1.04 QUALITY ASSURANCE:

A. Supplier: Manufacturer, subsidiary or licensed agent shall be approved to supply the products specified, and to honor any claims against product presented in accordance with warranty.

B. INSTALLER: Installer or agent shall be qualified to install specified products by prior experience, demonstrated performance and acceptance of requirements of manufacturer, subsidiary, or licensed agent. Installer shall be responsible for an acceptable installation.

C. UNIFORMITY: Provide 1” Mini Horizontal Aluminum Blinds of only one manufacturer for entire project. 

1.05 DELIVERY, STORAGE AND HANDLING:

A. Product shall be delivered to site in manufacturer’s original packaging.

B. Product shall be handled and stored to prevent damage to materials, finishes and operating mechanisms.

1.06 JOB CONDITIONS:

A. Prior to shade installation, building shall be enclosed.

B. Interior temperature shall be maintained between 60° F. and 90° F. during and after installation; relative humidity shall not exceed 80%. Wet work shall be complete and dry.

1.07 WARRANTY:

A. Lifetime Limited Warranty. Specific product warranties available from manufacturer or its authorized agent.

PART 2 – PRODUCTS
2.01 ACCEPTABLE MANUFACTURER

A. Hunter Douglas Architectural / 13915 Danielson St., Ste.100/ Poway, CA 92064/ Phone: 800-727-8953 Fax: 800-205-9819/ Website: HDarchitectural.com, or architect approved equivalent. 
B. Product substitutions must be approved by architect minimum of 30 days prior to close of bid.

2.02 1” MINI HORIZONTAL ALUMINUM BLINDS

A. PRODUCT: Hunter Douglas “CD80 1” Mini Aluminum Blind”
B. MATERIALS:

1. SLATS: 1” wide x .008” thick, heat-treated and spring tempered (except 5000 series alloy on metallized finishes) aluminum alloy 6011 with eased corners and manufacturing burrs removed. Product to have a minimum of 95% pre-consumer recycled content. Furnish not less than nominal 15.2 slats per foot to ensure tight closure and light control. Finish with manufacturer’s standard baked-on finish in colors selected by architect from manufacturer’s available contract colors utilizing Dust Shield™ finish to inhibit dust build-up for easier maintenance.  

2. SLAT SUPPORT: Braided ladders of 100% polyester yarn color compatible with slats and spacing of ladder no more than 20mm.

3. HEADRAIL: U-shaped profile with rolled edges, measuring 1 3/8” x 1 3/8” x .024” constructed of corrosion resistant steel and providing a sleek beveled edge valance-free design. Internally fit with components required for specified performance and designed for smooth, quiet, trouble-free operation. Headrail finish to be standard baked-on polyester and to match slats. Ends fitted with  .024” steel end lock with adjustable tab for centering blinds. 

4. BOTTOM RAIL: Steel, with corrosion-resistant finish formed with double-lock seam into closed oval shape for optimum beam and torsional strength. Ends fitted with color-coordinated engineered polymer caps. Color-coordinated engineered polymer tape buttons secure the ladder and cord. Bottom Rail finish to be standard baked-on polyester color coordinated to slats.

5. LIFTING MECHANISM: Crashproof steel cordlocks with corrosion-resistant finish, two-ply polyester cord filler in braided polyester jacket lift cords, cord equalizers, cordlock adapter, and Cord Stop/Single Pull Cord. Located on either side of individual blind unit as per architect’s request. 

6. TILTING MECHANISM: Permanently lubricated die-cast worm and gear type tilter gear mechanism in fully enclosed housing with clutch action to protect ladder tapes from over rotation of the solid steel, corrosion resistant tilt rod.

7. TILT CONTROL WAND: Tubular shaped 7/16” diameter extruded clear plastic, ribbed for positive grip and detachable without tools. Located on either side of individual blind unit as per architect’s request.

8. MOUNTING HARDWARE: Manufacturer’s standard .042” steel box brackets with baked-on polyester finish to match headrail with additional support brackets for blinds over 60” wide. 

9. ADDITIONAL AVAILABLE OPTIONS: Limited Tilt, Color Striping, 2 or 3 Blinds on 1 Headrail, Hidden Brackets, Side Channels (limited colors available), Hold Down Brackets, Cutouts, Perforated Slat.

2.03 FABRICATION

A. Blind measurements shall be accurate to within + 1/8” or as recommended in writing by manufacturer.
2.04 FINISHES

A. SLAT finish selection from the following: 001 Glacier White, 002 Alabaster, 018 Satin Silver, 048 Black, 064 Bronze, 065 Brushed Aluminum, 110 Gloss White, 125 Bright White, 127 Linen Flirt, 173 Eggshell, 180 Dove Gray, 186 Beige, 190 Bright Aluminum, 205 Fawn, 268 Crème de la Crème, 269 Chenille, 270 Linen, 276 Silverado, 318 Silver Cloud, 350 Vanilla, 405 Gray Flannel, 413 Hunter Green, 748 Shadow Gray, 795 Surf, 820 Umber, 830 Almond, 885 Flex White, 973 Antique White, 974 Pearl, 981 Platinum Gray, 983 Graphite, 262 Steel Wind Brushed.

B. SLAT SUPPORT braided ladders shall be color coordinated with slat 
PART 3 - EXECUTION
3.01 INSPECTION:

A. SUBCONTRACTOR shall be responsible for inspection on site, approval of mounting surfaces, installation conditions and field measurement for this work.

B. OTHER INTERACTING TRADES shall receive drawings of shade systems, dimensions, assembly and installation methods from subcontractor upon request.

3.02 INSTALLATION:

A. INSTALLATION shall comply with manufacturer’s specifications, standards and procedures as detailed on contract drawings.

B. ADEQUATE CLEARANCE shall be provided to permit unencumbered operation of shade and hardware.

C. CLEAN finish installation of dirt and finger marks. Leave work area clean and free of debris.

3.03 DEMONSTRATION:

 A.    Demonstrate operation method and instruct owner’s personnel in the proper operation and maintenance of the blinds.

3.04 SCHEDULE:

A. EXTERIOR WINDOWS:

B. INTERIOR RELIGHTS:

                                                                            END OF SECTION 12492

                                                      1” Mini Horizontal Aluminum Blinds (Premium Quality)            

                                                                  12492-1      

Project name/ Project number/ Date
                                                      1” Mini Horizontal Aluminum Blinds (Premium Quality)            

                                                                  12492-2    

Project name/ Project number/ Date   


