Section 09 54 44 - Modular Laminate / Metal Ceiling System

PART 1 GENERAL

1.1	RELATED DOCUMENTS

A.	Drawings and general provisions of the Contract, including General and Supplementary 	Conditions and Division 1 Specification Sections, apply to this Section.

1.2	SUMMARY

A.	Section Includes:

1.	Perforated and un-perforated laminate / metal ceiling panels

2.	Acoustical backing.

3.	Suspension assemblies

4.	Accessories; provide other necessary items including devices for attachment overhead 	construction, secondary members, splines, splices, connecting clips, wall connectors, wall 	angles required for a complete installation.

5.	Supplemental support framing: Provide fully engineered secondary framing as required to 	meet code, conforming to layout shown in drawings, to support direct-hung metal ceilings 	suspension system.

6.	Coordinate layout and installation of items penetrating or being installed in ceiling systems 	with responsible trades.

B.	Related Sections / Work:

1.	Sections 05 40 00 – Cold-Formed metal Framing

2.	Sections 09 20 00 – Plaster and Gypsum Board

3.	Sections 09 50 00 – Acoustical Ceilings

4.	Sections 09 90 00 – Paintings and Coatings

5.	Division 23 – Heating, Ventilating and Air Conditioning

6.	Division 26 - Electrical

C.	Alternates (Substitutions):

1.	Prior approval: unless otherwise provided for in the contract documents, proposed product 	substitutions may be submitted no later than 10 working days prior to the date established 	for receipt of bids.  Approval of a proposed substitution is contingent upon the Architect’s 	review of the proposal for acceptability. Approved products will be set forth by addenda.  If 	substitute products have not been approved by addenda, but are included in a bid and 	subsequently rejected, the specified products shall be provided without additional 	compensation.

2.	Submittals which do not provide adequate data for the product evaluation will not 	be 	considered. The proposed substitution must meet the requirements for this section, 	including but not necessarily limited to the following: single source materials supplier 	(specified in Section 1.5); panel design, size, composition, color and finish; suspension 	system component profiles and sizes; and compliance with the referenced standards.

D.	This Section covers the general requirements only for metal ceilings as shown on the 	drawings.  The supplying and installation of additional 	accessory features and other items not 	specifically mentioned herein, but which are necessary to make a complete installation shall also 	be included or clarified accordingly.

1.3	REFERENCES

A.	American Society for Testing and Materials (ASTM)

1.	A641 -"Standard Specification for Zinc-Coated (Galvanized) Carbon Steel Wire"

2.	A653 - "Standard Specification for Steel Sheet, Zinc-Coated (Galvanized) or Zinc­ Iron 	Alloy Coated (Galvannealed) by the Hot-Dip process"

3. 	B209 - "Standard Specification for Aluminum and Aluminum Alloy Sheet and Plate"

4. 	B633 - "Standard Specification for Electrodeposited Coatings of Zinc on Iron or Steel"

5.	C423 - "Sound Absorption and Sound Absorption Coefficients by Reverberation Room 	Method"

6. 	C635 - "Standard Specification for Metal Suspension Systems for Acoustical Tile 	and Lay-	in Panel Ceilings"

7. 	C636 - "Recommended Practice for Installation of Metal Ceiling Suspensions Systems for 	Acoustical and Lay-in Panels"

8.	D1002 - "Practice for Adhesion Resistance"

9.	D1044 - "Practice for Abrasion Resistance"

10.	D1876 – “Peel Resistance of Adhesives”

11. 	E84 - "Standard Test Method for Surface Burning Characteristics of Building Materials"

12. 	E488 - "Standard Test Methods for Strength of Anchors in Concrete and Masonry 	Elements"

13. 	E580 - "Standard   Practice   for Application of Ceiling Suspension Systems for Acoustical 	Tile and Lay-in Panels in Areas Requiring Moderate Seismic Restraint"

14.	E795 - "Standard Practices for Mounting Test Specimens during Sound 	Absorption Tests"

15.	E1190 - "Standard Test Methods for Strength of Power Actuated Fasteners Installed in 	Structural Members"

16. 	E1264 - "Classification for Acoustical Ceiling Products"

17.	E1477 - "Standard Test Method for Luminous Reflectance factor of Acoustical Materials 	by use of Integrating-Sphere Reflectometers"

B.	Applicable LEED Environmental Categories and Credits and performance requirements as 	indicated:

1.	Material and Resources (MR)

a.	MR Credit 4.1 & 4.2 – Recycled Content

b.	MR Credit 5.1 & 5.2 – Regional Materials

2.	Innovation in Design (IC)

a.	IC Credit 1.1 – Enhanced Acoustical Performance

C.	National Electrical Manufacturers Association (NEMA) Standard 11-14-95 for Chemical 	Resistance.

D. 	Ceiling & Interior Systems Construction Association (CISCA) "Ceiling Systems Handbook".

1.	Guidelines for Seismic Restraint

a.	Acoustical Tile and Lay-in Panels - Zones 0 - 2

b.	Direct Hung Suspended Ceiling Assemblies - Zones 3 & 4

E.	Local Building Code (UBC or IBC), current edition requirements.

1.4	SUBMITTALS

A.	Product Data: Manufacturers product data for each type of product specified in this section.

B.	Product Certification: Manufacturer’s certifications that products comply with specified requirements 	and governing codes including product data, laboratory test reports and research reports showing 	compliance with specified standards.

C.	Shop (Coordination) Drawings: Submit shop drawings for reflected ceiling plans (RCP’s), drawn to 	scale, and coordinating penetrations and ceiling mounted items. Show the following details:

1.	Reflected ceiling plan including joint patterns and details.

2.	Ceiling suspension system plan with appropriate components, suggested hanger 	locations 	and details.

3.	Method of attaching suspension system hangers to building structure as coordinated by 	installer.

4.	Ceiling-mounted items including: light fixtures, air outlets and inlets, speakers, sprinklers, 	and other interfaces.  Coordinate all appliances to be installed in ceiling system.  Product 	selection shall be compatible with ceiling system.

5.	Special moldings at walls, column penetrations, and other junctures of acoustical 	ceilings 	with adjoining construction.

6.	Framing and support details for work supported by ceiling suspension system.

7.	List of materials, dimensions, hanger fastenings and any special details.

8.	Minimum drawing scale: 1/8” = 1’-0”.

9.	Provide full scale drawings of perforation patterns. Provide minimum 1”=1’-0” scale layout 	for each panel type showing perforation layout and orientation as required.

10.	Shop drawings shall originate from manufacturer.  Subcontractor drawings will not be 	acceptable, except to show attachment to structure.

11.	Where requested by architect, provide engineered drawings with direction from consulting 	SE confirming design integrity to the satisfaction of specification requirement.

12.  	Coordinate with other work supported by, adjacent to or penetrating through the ceiling 	system.

D.	Samples for Verification: Full-size units (or as specified below) of each type of ceiling assembly 	indicated; in sets for each color, texture, and pattern specified, showing the full range of variations 	expected in these characteristics.  Submit samples for each type specified.

1.	12-inch square, (acoustical) metal pan units.

2.	12-inch long samples of each exposed molding or trim.

3.	12-inch long samples of each suspension component.

E.	Qualification Data: For firms and persons specified in "Quality Assurance" (Section 1.5).  Provide 	documents to demonstrate their capabilities and experience. Include lists of at least 5 completed 	projects with project names and addresses, names and addresses of Architects and employers, 	and other information specified.

F.	BIM (Building Information Modeling): Provide 3-D models (as applicable) of the ceiling system 		including, panels, suspension and necessary components to make the system complete; 			compatible with "NavisWorks" or other appropriate 3-D model interfacing software.

1.5	QUALITY ASSURANCE

A.	Unless accepted otherwise by the Architect, use manufacturer and installers that employ a Quality 	Management System complying with the program described in ISO 9001-2008, or similar system.

B.	Installer

1.	To certify a minimum 5 years experience installing similar systems and scope to those 	specified or approved in written form by “Basis of Design” manufacturer.

2.	Provide list of at least 5 successful installations with similar products and scope. 	Include 	names and contact numbers of Architect and employer for reference.

C.	Manufacturer

1.	To certify a minimum of 5 years experience as a manufacturing enterprise engaged in 	sales and production of similar products to those specified.

2.	Provide support documentation including name and date of similar projects completed. 	Include names and contact numbers of Architect and employers for reference.

3.	 Manufacturer shall be single source, original equipment, engineering and design, and 	shall be the fabricator and supplier of appropriate major components.  Broker / Package of 	components will not be acceptable.

D.	Fire-Test-Response Characteristics: Provide metal ceilings that comply with the following 	requirements:

1.	The panels are made from a non-combustible aluminum core and tested in accordance 	with ASTM E84. Class A (0-25 flame spread) Surface-burning 	characteristics of 	acoustical metal pan ceilings per IBC Chapter 8 Section 803.

E.	Mock-Ups: Before releasing acoustical metal ceilings, if requested, construct mock-ups for each 	form of construction and finish required to verify selections made under sample submittals and to 	demonstrate aesthetic effects and qualities of materials and execution. Build mock-up to comply 	with the following minimum requirements, using materials indicated for completed work.

1.	Locate mock-ups in the location and of the size indicated or, if not indicated, as directed 	by the Architect.  Minimum mock-up size to be 10’x 10’ unless otherwise specified.

2.	Notify Architect seven days in advance of the dates and times when mock-ups will be 	constructed.

3.	Demonstrate the proposed range of aesthetic effects and workmanship.

4.	Site Coordination Mock-up:

a.	For approval of assembly, sequence of installation, coordination of trades 	involved, including ceiling panel types and shapes.

b.	Sized large enough to include a minimum of 2 adjacent panels 	Demonstrating 	interface work of fire protection sprinklers, lighting, mechanical diffusers, 	anchoring method at steel structure; adjacent vertical wall; skylight and fascia, 	trim and accessories.

5.	Obtain Architect’s approval of mock-ups before starting construction of acoustical metal 	pan ceilings. Submit detailed, ACAD shop drawing illustrating extent and scope of mock-	ups. Do not proceed without approval of these drawings.

6.	Maintain mock-ups during construction in an undisturbed condition as a standard 	for 	judging the completed work.

a.	When directed, demolish and remove mock-ups from project site

b.	Approved mock-ups in an undisturbed condition at the time of initial Acceptance 	may become part of the completed work, subject to Architect / Employer 	approval.

F.	Pre-installation Conference: Conduct conference at Project site as directed by the project Architect.

1.6 	DELIVERY, STORAGE, AND HANDLING

A.	Deliver acoustical metal ceiling units and suspension system components in original, unopened 	packages clearly labeled with the following information: name of manufacturing source and 	location; product 	type, description and quantity; clients name and shipping address.

B.	Store components in a fully enclosed space where they will be protected against physical 	damage 	from direct moisture, significant change in humidity, direct sunlight, significant change in 	temperature, surface contamination, and any other preventable cause.

C.	Exercise care in handling components to prevent damage to the surfaces and edges and prevent 	distortion or other physical damage. Comply with prescribed stacking instructions to prevent 	damage to the components. Panel’s protective layer to be removed only after installation is 	complete to help prevent panel surface damage.

1.7	PROJECT CONDITIONS

A.	Environmental Limitations

1.	Do not install acoustical metal pan ceilings until after spaces are enclosed and weather 	tight and after wet work and work above ceilings is complete and accepted by project 	Architect.

2.	Maintain environmental conditions within limits recommended by manufacturer for 	optimum results.

a.	Maintain within a temperature range of 50-100 degrees.

b.	Maintain within a 20%-60% relative humidity.

B.	Do not install products in exterior space unless the system has been specifically designed and 	approved for exterior application.

C.	If the project is located within range of moisture associated with large bodies of water (fresh or 	salt), necessary materials shall be finished with coatings appropriate to condition 	of use.

1.8	WARRANTY

A.	Provide specified manufacturer warranty against defects in workmanship.

B.	This warranty shall remain in effect for a minimum period of one (1) year from date of installation.

1.9	MAINTENANCE & EXTRA MATERIALS

A.	Maintenance Instructions: Provide manufacturers standard maintenance and cleaning instructions 	for finishes provided.

B.	Extra Materials: Furnish extra materials described below that match products installed, are 	packaged with protective covering for storage, and are identified with labels describing contents.  	Only typical system components are included with attic stock.

1.	Metal Ceiling Pan Units: Full-size units equal to 1 percent (1%) of amount installed.

2.	Ceiling Suspension System Components: Quantity of each grid and exposed 	component equal to 1 percent (1%) of amount installed.

PART 2 PRODUCTS

2.1      MANUFACTURERS

A.	Basis of design: Ceilings Plus - 6711 E. Washington Blvd., Los Angeles, CA 90040.  800-822-3411 	– www.ceilingsplus.com.

B.	Supply specified item or comply with Section 01 60 00 “Substitutions”.  Specified 	manufacturer’s 	standard of quality and manufacturing tolerances shall be the criteria for evaluating “equivalent” 	products. Substitution shall be equal to or of better quality than 	the specified product in the opinion 	of the Architect and / or owner.

2.2	MATERIALS

A.	Ceiling Type MCP-1 - Ceilings Plus “Illusions" – Perforated – as required, Saranté finish to match 	Architect’s sample; or approved equal.

1.	Panels are to be manufactured from single sheets of aluminum selected for surface 	flatness, smoothness and freedom from surface blemishes where exposed to view in a 	finished unit.  Do not use material where the exposed 	surface exhibit pitting, seam marks, 	roller marks, stains, discolorations, or variations in flatness exceeding those permitted by 	referenced standards for stretcher-leveled aluminum alloy sheets.

2.	Panels are to be die formed with a minimum 1-1/4” integral return edge on each of the four 	panel sides.  Steel clips that locate and align panels to the grid with torsion springs, are to 	be factory machine riveted to the return edge of the panels using counter sunk rivet holes 	that allow the flat heads of the counter sunk rivets to be flush the face of the panel return. 	No fasteners of any kind shall be visible on exposed face surfaces of ceiling panels or 	support tees.

3.	Panel material shall be primed aluminum sheet type 3105 series alloy that has up to  	90% recycled content.  It shall be machine stretcher-leveled and a minimum of .040” 	thickness, or greater if required, so that the panel deflection does not exceed L/360.

4.	The panel finish shall be:

a.	“Saranté” PVC free, laminate that is permanently bonded to the 	aluminum sheet with formaldehyde free, water based adhesive of 	minimum bond strength of 425 psi @ 25 degrees C.

5.	Panel sizes as per drawings.  Field cut panels at non modular perimeter 	conditions, at column interfaces or as detailed or specified.

6.	Edge Profile: Panel joints are butt condition (concealed tee – as per ASTM E1264) both 	directions (as per drawings) unless specified otherwise.

7.	Perforation shall be selected by the Architect from Ceilings Plus’ standard 	patterns.  Panels to have solid non-perforated borders along each of the four sides.

8.	Sound-Absorptive Fabric Layer: Provide manufacturer's acoustic fabric sized to fit and 	laminated to concealed surface of panel.  Material shall be both non-flammable and 	sound-absorptive.

a.	Fire Class shall be Class A, with surface-burning characteristics for flame-spread 	rating of 25 or less and smoke developed rating of 50 or less. Provide 	independent accredited lab test results showing compliance with Class A rating 	as per ASTM E84.

b.	Achieve absorption value up to .95 NRC. Provide independent 	accredited 	laboratory test results illustrating compliance with acoustical requirements as per 	ASTM C423.

i.	Option: Acoustical metal laminate panel ceilings to provide recycled 	cotton, “Ultrasorb” in sufficient thickness to achieve up to 0.95 NRC 	rating specified.

ii.	Option: Acoustical metal laminate panel ceilings to provide recycled 	“Soundtex” fiber fleece.  Permanently laminate fleece (Install acoustical 	pads) to the backside of the perforated panels to achieve up to 	0.70NRC rating specified.

9.	The plenum shall be 100% accessible.  Every panel must be removable.  Progressive 	panel access is not acceptable.  Heavy duty torsion springs and steel clip assemblies to 	be mounted to every panel for downward access, without potential for damage to panel 	face or hinge assembly.  Hinge assembly shall be mounted to every panel with minimum 	two flush to face, counter sunk chamfered fasteners.  Attaching torsion spring directly to 	panel with fastener will not be acceptable.

10.	Provide and install matching finish trim on each side of each suspended area (or 	as 	specified).  Profile of trim to be minimum 4-1/2” tall @ floating conditions or as detailed.

11. 	(Optional) Matching light fixture trim surrounding opening where lay-in units are used.

2.3	METAL SUSPENSION SYSTEMS. GENERAL

A.	Metal Suspension Standard: Provide panel manufacturer's metal suspension systems of types, 	structural classifications, materials, and finishes indicated that comply with applicable ASTM C635 	requirements.

1.	Main and cross runners to be Standard “Heavy Duty” tee bar (as per ASTM C635).

2.	Face of main and cross runners to be factory finished matte black unless known 	otherwise.

3.	Face of main runners to be factory slotted to receive torsion springs.

4.	Provide suspension system made from steel sheet with an average recycled content such 	that post-consumer recycled content plus one half or pre consumer content is not less 	than 25%.

B.	Suspension Systems: Provide complete suspensions systems with main runners, cross runners, 	hangers, trim molding, seismic retention clips, load resisting struts and other suspension 	components required to support ceiling and other ceiling supported construction (some of these 	parts may be supplied by the installer).

C.	Attachment Devices: Size for five times design load indicated in ASTM C 635, Table 1, “Direct-	Hung”, unless otherwise indicated (supplied by installer)

1.	Provide anchor, for use in the particular application, as approved by the 	“Structural 	Engineer of record”.

2.	Structural substrate, as indicated to support attachment device, also to be approved by 	the “Structural Engineer of record”.

3.	Anchors specified must provide corrosion resistance as per metal type and application.

4.	Anchors specified must provide corrosion resistance as per metal type and application.

a.	Anchors into Concrete (with or without steel deck)

i.	Pre-installed – Cast in Place Anchors

ii.	Post-installed - Expansion Anchors

iii.	Post-installed – Chemical Anchors

iv.	Post-installed – Powder Actuated Fasteners

b.	Anchors into Wood

i.	1/4” min diameter with 1-1/4” minimum penetration

c.	Anchors into Steel

i.	Clip or Clamp

ii.	Shot Pin

d.	Anchors into Steel Deck: This option requires special attention from both the 	“Structural Engineer of record” and the Professional Engineered retained to 	provide structural documents in order to coordinate detailing required to provide 	anchoring device.

5.	“Direct-Hung” Suspensions Systems: System composed of main runners supported by 	hangers attached directly to building structure.

6.	“Indirect-Hung” Suspension Systems: System composed of main runners connected to 	carrying channels that are attached by hangers to building structure, and complying with 	the following requirements:

a.	Hangers: Type and metal standard with ceiling system manufacturer, sized to 	comply with structural classification indicated.

b.	Wire Hangers, where applicable, Braces, and Ties: Provide wires 	complying with the following requirements:

i.	Zinc-Coated Carbon-Steel Wire: ASTM A 641 (ASTM A 641M), Class 1 	zinc coating, soft temper.

ii.	Size: Select wire diameter so its stress at three times hanger design 	load (ASTM C 635, Table 1, Direct Hung) will be less 	than yield stress 	of wire, but provide not less than 2mm diameter wire.

iii.	Extruded Aluminum members shall comply with ASTM B209.

c.	Hanger Rods: Mild steel, zinc coated or protected with rust-inhibitive paint.

d.	Flat Hangers: Mild steel, zinc coated or protected with rust-inhibitive paint.

e.	Angle Hangers: Angles with legs not less than 22mm wide, formed with 1mm 	thick, galvanized steel sheet complying with ASTM A 653/A 653M, G90 coating 	designation, with bolted connections.

2.4	FINISHES, GENERAL

A. 	Comply with "Metal Finishes Manual for Architectural and Metal Products" for recommendations for 		applying and designating finishes. Provide basis of design manufacturers standard factory-applied 			finish for type of system indicated unless specified otherwise.

B.	Protect mechanical finishes on exposed surfaces from damage by applying a strippable, temporary 			protective covering before shipment.

C.	Surface preparation of aluminum surfaces shall include cleaning and pre-treating of surface to 			comply with MMA 620-02, Voluntary Specifications for High Performance Organic Coatings on Coil 			Coated Aluminum Substrates.

D. 	Appearance of finished work: Painted or Anodized:

1. 	Noticeable variation in same piece is not acceptable.

PART 3 - EXECUTION

3.1	EXAMINATION

A.	Examine substrates and structural framing to which metal panels attach or abut, with Installer 	present, for compliance with requirements specified in this and other Sections that affect 	installation and anchorage, and other conditions affecting performance of acoustical metal panel 	ceilings.

B.	Proceed with installation only after unsatisfactory conditions have been corrected.

3.2	PREPARATION

A.	Coordination: Furnish layouts for cast-in-place anchors, clips, and other ceiling anchors whose 	installation is specified in other Sections.

B.	Measure each ceiling area and establish layout of acoustical metal pan units to balance border 	widths at opposite edges of each ceiling. Avoid using less-than-half-width units at borders, and 	comply with layout shown on reflected ceiling plans.

C.	Survey substrate for wall attachment to assure squareness and proper elevation for wall panel 	installation.

3.3	INSTALLATION

A.	General: Install acoustical metal pan ceilings, per manufacturers shop drawings provided, per 	manufacturer's written instructions and to comply with publications referenced below.

1.	ClSCA "Ceiling Systems Handbook.

2.	Standard for Ceiling Suspension System Installations - ASTM C636.

3.	Standard for Ceiling Suspension Systems Requiring Seismic Restraint - ASTM E580

4.	IBC (International Building Code) standard for Seismic Zone for local area.

B.	Suspend ceiling hangers from building's approved structural substrates and as follows:

1.	Install hangers plumb and free from contact with insulation or other objects within 	ceiling plenum that are not part of supporting structure or of ceiling suspension system.

2.	Splay hangers only where required to miss obstructions; offset resulting 	horizontal forces 	by bracing, counter-splaying, or other equally effective means.

3.	Where width of ducts and other construction within ceiling plenum produce hanger 	spacings that interfere with location of hangers at spacing required to support standard 	suspension system members, install supplemental suspension 	members and hangers in 	form of trapezes or equivalent devices. Size supplemental suspension members and 	hangers to support ceiling loads within performance limits established by referenced 	standards and publications.

4.	Where used secure wire hangers to ceiling suspension members and to supports above 	with a minimum of three tight turns. Connect hangers directly either to structures or to 	inserts, eye screws, or other devices that are secure; that are appropriate for substrate; 	and that will not deteriorate or otherwise fail due to age, corrosion, or elevated 	temperatures.

5.	Space hangers not more than 48 inches on center, along each member 	supported directly 	from hangers, unless otherwise indicated; and provide hangers not more than 8 inches 	from ends of each member. Supply supporting calculations from licensed Structural 	Engineer verifying hanger spacing meets all 	requirements, when spacing exceed those 	recommended.

6.	Fine level grid to 1/8 inch in 10 feet from specified elevation(s), square and true.

7.	Adjust suspension system runners so they are square (within .5 degree from 90 degrees) 	and securely interlocked with one another. Remove and replace dented, bent, or kinked 	members.

C.	Secure bracing wires to ceiling suspension members and to supports acceptable to Architect / 	Engineer and or inspector. Suspend bracing from building's structural members and / or structural 	deck, as required for hangers, without attaching to permanent metal forms, steel deck, or steel 	deck tabs(unless directed otherwise).

D.	Install edge moldings and trim of type indicated at perimeter of acoustical ceiling area and where 	necessary to conceal edges of acoustical metal pan. Method of edge trim attachment and design of 	edge trims to be approved by Architect.

1.	Screw attach moldings to substrate at intervals not more than 18” O.C. and not more than 	6” from ends, leveling with ceding suspension system to a tolerance of 1/8” in 10’.  Miter 	corners accurately and connect securely.

2.	Do not use exposed fasteners, including pop rivets, on moldings and trim without prior 	written approval or unless detailed otherwise.

E.	Scribe and cut acoustical metal panel units for accurate fit at penetrations by, other work through 	ceilings. 	Stiffen edges of cut units as required to eliminate evidence of buckling or variations in 	flatness 	exceeding referenced standards for stretcher-leveled metal sheet.

F.	Install acoustical metal panel units in coordination with suspension system.

1.	Align joints in adjacent courses to form uniform, straight joints parallel to room axis in both 	directions, unless otherwise indicated.  Install directionally patterned or textured panels in 	directions indicated on approved shop drawings.  Panel-joints shall flow smoothly and in a 	straight line within 1/8” in 10’. Intersections shall be continuous.

2.	Fit adjoining units to form flush, tight joints. Scribe and cut units for accurate fit at 	borders 	and around construction penetrating ceiling.

3.	Remove panels from protective packaging only when space is completely clean and free 	of airborne particles. Use white cotton gloves for final installation of panels into grid 	system.

3.4	ADJUSTING AND CLEANING

A.	Adjust ceiling components to provide a consistent finish and appearance in conformity with 	established tolerances and requirements.

B	Clean exposed surfaces of acoustical metal panel ceilings and walls. Comply with 	manufacturer's written instructions for cleaning and touchup of minor finish damage.

C.	Remove and replace work that cannot be successfully cleaned and repaired to permanently 	eliminate evidence of damage, including dented and bent units.

End of section