## Contents
CONTENT PAGE
In this Excel spread sheet we will cover the following time studies,
1- Trivati
2- Enclose
3- Enclose Frameless Glass 1 and 2 Clannel

## Introduction
TIME STUDIES
INTRODUCTION
Time studies for repair or replacement activities are based on
historical trends extracted from previous warranty and corrective action projects and input from
Tech Reps for Walls, Wall Trainers and Independent Installers. All times are reviewed by
Haworth Engineering Corrections Specialist for accuracy and fairness.
It is important to remember that all times are for each manual operation necessary to complete a
replacement or repair.
As an example:
If replacing a glass slab pivot door. Example
The removal and replacement of each of these components must be considered. Each Time Study is for the individual part.
Set-up |  | 30 minutes
Remove and Replace Door |  | 25 minutes
Remove and Replace Door Hardware |  | 20 minutes
| TOTAL | 75 minutes
All page numbers in this Time Study are from the current Manual to date. Not all catalog numbers are in these Time Studies, do to updating different parts.
These time studies are not intended to cover every repair situation, nor are they intended to be the limit for
Warranty Reimbursement. Haworth realizes that each facility and situation are different and may cause
repair times to differ. These studies are intended to be used as a guideline. Always obtain prior-approval
on labor quotes from your Engineering Corrections Specialist. These studies are for only to remove and replace the product.
If 2 installers are needed then time study should be times by the number of installers on the job.
Revised March. 2020

## TVT Time Study
Part you are Removing and Replacing | Catalog # | Manual # | PDF Page # | How long it should take
Manual # 119-6179
Rail Bracket Kit | 119-1479 | 3.5 | 14 | 5 mins with no glass
Locking Block |  | 3.5 | 14 | 3 mins with no glass
Povit door top rail with closer/ 10 foot | 120-0625 | 3.6 | 15 | 40 mins
Rail Bracket kit, 2 way | 119-1482 | 4.5 | 20 | 5 min
Rail Bracket Kit, 3 way, Off Module | 119-1483 | 4.8 | 23 | 7 mins
Rail Bracket Kit, Inline Door Fr | 119-1481 | 4.10/ | 25 | 15 mins
Rail, Bottom/Starter, 3Chnl 1.5"/2.5" | (1.5") 119-1438 (2.5") 119-1437 | 5.3 | 29 | 15 to 20 mins
Door Frame Starter Rail | 120-5312 | 5.5 | 31 | 20 mins
Top rail plus clips/ 10 foot | 119-1434 | 6.3 | 35 | 40 mins
Ceiling grid clip |  | 6.3 | 35 | 5 mins
Rubber protective cap | (1.5")119-1470 (2.5") 119-1471 | 6.5 | 37 | 4 mins per
Leveler blocks/NO Glass | 119-1469 | 7.6 | 43 | 10 mins for 2 blocks
Rail support kit | 119-6868 | 7.7 | 44 | 2 mins per
Furniture/ Accessory Rail Mounting Block Kit |  | 8.6 | 50 | 5 mins per
End of Run Rail | 119-1447 | 9.1 | 51 | 15 mins
Intersection, Inline, Cv Kit, w/ACO, 5" | 119-1449 | 9.1 | 51 | 10 mins
Intersection, 2 way 90, Cv Kit | 119-1450 | 9.1 | 51 | 10 mins
Intersection, 2 way 90, Mitre | 119-1451 | 9.1 | 51 | 15 mins
Intersection, 3 way 90, 1 Channel | 119-1452 | 9.1 | 51 | 25 mins
Intersection, Inline, Cv Kit, w/ACO, 3.5" | 120-5310 | 9.1 | 51 | 10 mins
Compressible Seal Kit | 119-1448 | 9.1 | 51 | 20 mins
Rail Splice, Vertical | 119-1445 | 9.2 | 52 | 10 mins
Tile Insert, Vertical Full Height | 121-9926 | 10.1 | 64 | 10 mins
Tile Insert, Vertical Bottom, Middle, Top | (B) 121-9927, (M) 121-9928, (T) 121-9929 | 10.1 | 64 | 7 mins per/21 total
Tile Insert, Horizonal, Full Height | 121-9930 | 10.1 | 64 | 10mins
Tile Insert, Horizonal, Bottom, Middle, Top | (B) 121-9931, (M) 121-9932, (T) 121-9933 | 10.1 | 64 | 7 mins per/21 total
Insulation, Acoustic, 21" and Insulation Tape | 119-1476, Tape 120-3168 | 10.5 | 68 | 10 mins per bay
Glazing Connector Tape 2mm | 119-1453 | 11.1 | 69 | 30 mins per
Glazing Connector Inline 10 or 12 mm | 10mm 119-1454 or 12 mm 119-1455 | 11.1 | 69 | 30mins per
Glazing Connector 2 Way 90 | 119-1456 | 11.1 | 69 | 30 mins
Glazing Connector 2 Way Vara | 119-1457 | 11.1 | 69 | 30 mins
Glazing Connector 3 Way 90 | 119-1458 | 11.1 | 69 | 45 mins
Glazing Connector 3 Way Brdg 10 or 12 mm | 10mm 119-1461 or 12 mm 119-14562 | 11.1 | 69 | 30 mins
Glazing Connector 3 Way Vara 10 or 12 mm | 10mm 119-1459 or 12 mm 119-1460 | 11.1 | 69 | 30 mins
Leveling Kit Center Glazing | 1.5", 119-1470 2.5" 119-1472 | 11.1 | 69 | 10 mins per pair
Switching out Glass |  | 11.1 | 69 | 60 mins
Outer Channel Cap | 123-9609 | 12.1 | 79 | 10 mins per
Center Channel Cap | 119-1465 | 12.1 | 79 | 10 mins per
Outer to Center Channel Cap with Seal | 128-7613 | 12.1 | 79 | 10 mins per
Center Channel Cap with Seal | 119-1467 | 12.1 | 79 | 15 mins per
Pivot Door Bottom Frame Bracket | 119-4738 | 13.2 | 85 | 3 mins
Glass Slab Bottom Pivot HWP | 119-4744 | 13.2 | 85 | 5 mins
Glass Slab Pivot Door Strike Jamb | 119-7634 | 13.3 | 86 | 15 mins STOP
Pivot Door Hinge Jamb | 119-7627 | 13.4 | 87 | 15 mins
Inner Header HW | 119-7620 | 13.6 | 89 | 10 to 15 mins
Pivot Door Header | 119-7625 | 13.7 | 90 | 10 mins
Glass Slab Pivot Door Hinge/ Adjustment | 119-7623 | 13.8 | 91 | 5 mins
Glass Slab Door |  | 13.9 | 92 | 25 mins
Glass Slab Door Pull |  | 13.9 | 92 | 10 to 15 mins
Cylinder Patch Kit |  | 13.11 | 94 | 15 to 20 mins
Mortise Patch Kit |  | 13.12 | 95 | 15 to 20 mins
Dorma Closer | ITS-9625 | 13.14 | 97 | 30 to 40 mins
Floor Bracket pocket door bypass slider | 119-4737 | 14.2 | 104 | 10 to 15 mins
Floor Bracket Slider strike side | 119-4739 | 14.2 | 104 | 5 mins
Slider Door Ramp | 119-4756/ 42" 119-5839, 48" 119-5842 | 14.3 | 105 | 10 mins
Slider Door Stop | 119-4755, 2.5" 122-9012, 1.5" 122-9010 | 14.3 | 105 | 5mins
Door Guides/ Standard and 2.5 profile |  | 14.3 | 105 | 5 mins
Door Frame Strike Side (Glass Slab) | (Lockset) 119-7635, (Pull & Lock) 119-7636, (Pull) 119-7637 | 14.4 | 106 | 15mins
Glass Slab Sliding Door Bypass Jamb | 119-7629 | 14.5 | 107 | 25 mins for both
End Cap for Pocket door | 119-4737, 2.5 122-3496, 1.5" 122-3496 | 14.6 | 108 | 2 mins
Sliding Door Track HWP (Hardware) | 119-7621 | 14.7 | 109 | 15 to 20 mins
Sliding Door Closer (Soft Closer) | (Solf Closer) 121-0770 | 14.8 | 110 | 10 mins
Sliding Door Track | 119-4758 | 14.8 | 110 | 10 mins
Glass Slab Sliding Door Leaf Rail | 119-4748 | 14.11 | 113 | 15 mins
Adams Rite 2331 Heavy Duty Deadbolt |  | 14.12 | 114 | 15 mins
Egress ADA Entry Lock HW Kit |  | 14.14 | 116 | 15 mins
Pivot Door Bottom Frame Bracket | 119-4738 | 15.2 | 120 | 5 mins
Wood/ Double Glazed Bottom Pivot HW | 119-4734 | 15.2 | 120 | 5 to 10 mins
Wood/ Double Glazed Strike Frame Vertical | 119-7630 | 15.3 | 121 | 15 mins
Wood/ Double Glazed Hinge Frame Vertical | 119-7627 | 15.4 | 122 | 15 mins
Pivot Door Header HWP | 119-7620 | 15.6 | 124 | 10 to 15 mins
Door Header | 119-4741 | 15.7 | 125 | 10 mins
Pivot Hinge (Wood or Double Glazed) | 119-7622 | 15.8 | 126 | 5 mins

## ENC Time Study
Part you are Removing and Replacing | Catalog # | Manual # | PDF Page # | How long it should take
127-8829
Compressible Starter | Starter, 112-4739 Starter Bracket, 114-2202 | 3.2 | 10 | 20 mins
Low Profile Starter |  | 3.2 | 10 | 15 mins
Adjustable Starter |  | 3.2 | 10 | 15 mins
Post 2 Way 90 Closed | 122-4732 | 3.3 | 11 | 10 mins
Post 2 Way 90 Open | 122-4732 | 3.3 | 11 | 10 mins
Inner Corner Clip | 114-7262 (Pitch) 120-3742 (Grout) | 3.3 | 11 | 5 mins
Inner Corner Post Clip | 114-3742 | 3.3 | 11 | 5 mins
Post 135 | 122-4733 | 3.3 | 11 | 5 mins
Inner Corner Post Clip 135 | 115-1075 | 3.3 | 11 | 5 mins
Post Inline 4 or 6 inch (Without Cutout) | 122-4734 | 3.3 | 11 | 5 mins
Post Inline 4 or 6 inch (With Cutout) | 122-4735 | 3.3 | 11 | 5 mins
Reveal Connector | 114-2178 | 3.3 | 11 | 5 mins
End-of-Run Low Profile | 122-4730 | 3.3 | 11 | 5 mins
End-of-Run Standard Profile | 122-4730 | 3.3 | 11 | 5 mins
End-of-Run Full Size Profile | 122-4730 | 3.3 | 11 | 5 mins
Post Variable Angle | 122-4731 | 3.3 | 11 | 10 mins
Ceiling Track | 144-2179 | 4.1 | 15 | 15 mins, (Full Track)
Track Flap | 114-5717(Pitch), ? (Grout) | 4.1 | 15 | 5 mins, (Full piece)
Grid Clip | 114-2182 | 4.1 | 15 | 15 mins, (5 Clips)
Connector Plate | 114-2194 | 4.1 | 15 | 7 mins
Smooth Shoes | 114-2193 | 4.4 | 18 | 10 mins (Pair)
Carpet Grippers | 114-2191 | 4.4 | 18 | 10 mins (Pair)
Y-Bolt | 114-2190 | 4.5 | 19 | 5 mins
Raceway Cover |  | 4.5 | 19 | 5 mins (Both Sides)
Freestanding Splice Plates | 114-2195 | 5.1 | 24 | 15 mins, (Full Stick)
Freestanding Cover | 114-2196 | 5.1 | 24 | 10 mins, (Full Piece)
Starter Bracket (Adjustable Starter) |  | 5.2 | 25 | 5 mins
Starter Bracket (Low Profile Starter) |  | 5.2 | 25 | 5 mins
2-Way Corner Bracket | 114-2196 | 5.3 | 26 | 5 mins
Variable Corner Bracket |  | 5.3 | 26 | 5 mins
3-Way Corner Bracket |  | 5.3 | 26 | 5 mins
4-Way Corner Bracket |  | 5.3 | 26 | 5 mins
2-Way Module Corner Bracket |  | 5.4 | 27 | 5 mins
3-Way Module Corner Bracket |  | 5.4 | 27 | 5 mins
4-Way Module Corner Bracket |  | 5.4 | 27 | 5 mins
Chinook Beam | 114-2204 | 5.5 | 28 | 30 mins
Stack-on EFG
Bracket and Screws | 121-7860 | 6.1 | 30 | 10 mins, (Both Sides)
Brace | 121-7859 | 6.1 | 30 | 20 mins
Bottom Horizonal | (1 Channel)114-2255, (2 Cannel) 112-4728 | 6.6 | 35 | 15 mins
Top Horizonal | ( 1 Channel) 114-2254, (2 Channel) 122-4728 | 6.7 | 36 | 15 mins
Verticals | 114-2533 | 6.7 | 37 | 20 to 30 mins, (Both sides)
Glass |  | 6.8 | 38 | 30 to 40 mins, (1 piece)
PDA bracket and PDA | 115-3831 | 7.2 | 40 | 15 mins
Power Base Jumper | 115-3832 | 7.3 | 41 | 10 mins
Side Cuttable | 114-3843 | 8.1 | 46 | 60 mins, 75 for Seismic
Top Cuttable | 122-4742 | 8.7 | 52 | 60 mins
Interface Panel | 114-3834 | 8.11 | 56 | ?
Frameless Corner | (90) 114-3837, (135) 114-3835 | 8.14 | 59 | 60 mins
3-Way Frameless Corner | 114-3836 | 8.19 | 64 | 60 mins
Spanning Tile | 121-0800 | 9.1 | 67 | 60 mins
Plywood Backer | 114-6756 | 9.9 | 75 | 15 to 20 mins
Wood/Metal Butt Hinge Doors/ Frame | 122-7746 (W/Lockset), 122-7747, (W/O Lockset) | 10.1 | 80 | 60 to 75 mins
Butt Hinge Door Frame |  | 10.1 | 80 | 20 mins
Hinges |  | 10.1 | 80 | 10 mins
Door |  | 10.1 | 80 | 20 mins
Door Frame Plinth |  | 10.1 | 80 | 15 mins
Plinth/ Wood and Medal Doors |  | 10.3 | 82 | 10 mins
Glass Slab/ Colcom Hinge/ Frame | 122-7748, (W/Lockset), 122-7749, (W/O Lockset) | 11.1 | 84 | 60 to 75 mins
Colcom Door Frame |  | 11.1 | 84 | 20 mins
Hinge Bodies |  | 11.1 | 84 | 30 mins
Glass Slab Door |  | 11.2 | 85 | 45 mins
Glass Slab Pivot Door/ Frame | 122-7750 | 12.1 | 87 | 45 to 60 mins
Pivot Door Frame |  | 12.1 | 87 | 20 mins
Pivot Hinge |  | 12.1 | 87 | 20 mins
Pivot Floor Bracket |  | 12.2 | 88 | 10 mins
Bridge Block |  | 12.3 | 89 | 8 mins
Glass Slab Door |  | 12.5 | 91 | 30 mins
Double Glazed Door Pivot/ Frame | 123-9613, (W/Lockset), 123-9614, (W/O Lockset) | 13.1 | 94 | 45 to 60 mins
Pivot Door Frame |  | 13.1 | 94 | 25 mins
D-Pull |  | 13.1 | 94 | 10 to 15 mins
Pivot Hinge |  | 13.1 | 94 | 10 mins
Bridge Block |  | 13.1 | 94 | 10 mins
Double Glaze Door |  | 13.1 | 94 | 20 mins
Wood/Medal Sliding Door/ Frame | 122-7753, (W/Lockset) 122-7754, (W/O Lockset) | 14.1 | 98 | 60 to 75 mins
Slider Door Frame |  | 14.1 | 98 | 20 mins
Door Track |  | 14.1 | 98 | 15 mins
Door Stops |  | 14.1 | 98 | 10 mins
Rail Cover (Plastic or Aluminum) |  | 14.1 | 98 | 15 mins (P) 20 mins (A)
4th Point | 121-6964 | 14.1 | 98 | 5 mins
Door Guide Bracket | 121-6965 | 14.1 | 98 | 10 mins
Plinth (Hidden) |  | 14.1 | 98 | 10 mins both sides
Plinth (Visual) |  | 14.1 | 98 | 15 mins both sides
Door Brace | 114-3778 | 14.3 | 100 | 15 mins
Glass Slab Slider/ Frame | 122-7755 (W/Lockset) | 15.1 | 108 | 75 mins
Slider Door Frame |  | 15.1 | 108 | 15 mins
Door Track |  | 15.1 | 108 | 15 mins
Door Stops |  | 15.1 | 108 | 10 mins
Rail Cover (Plastic or Aluminum) | 118-1697 | 15.1 | 108 | 15 mins (P) 20 mins (A)
4th Point | 121-6964 | 15.1 | 108 | 5 mins
Door Guide Bracket |  | 15.1 | 108 | 10 mins
Plinth (Hidden) |  | 15.1 | 108 | 10 mins both sides
Plinth (Visual) |  | 15.1 | 108 | 15 mins both sides
Door Brace | 118-1684 | 15.3 | 110 | 15 mins
Door Trim and Cover |  | 15.1 | 108 | 10 mins
Hanger Brackets |  | 15.1 | 108 | 10 mins
Turnbuckle for double doors |  | 15.11 | 118 | 15 mins
Wood/Medal Soft close Slider/ Frame | 123-9615 (W/Lockset) 123-9616 (W/O Lockset) 123-9617 (W/Lockset & W/Pull) | 16.1 | 120 | 60 mins
Slider Door Frame |  | 16.1 | 120 | 25 mins
Door Track |  | 16.1 | 120 | 15 mins
Door Stops |  | 16.1 | 120 | 5 mins
Mounting Rail |  | 16.1 | 120 | 15 mins
Door Stop Arms |  | 16.1 | 120 | 5 mins
Roller Assembly |  | 16.1 | 120 | 10 mins
Track End Caps |  | 16.1 | 120 | 3 mins
Fascia Cover |  | 16.1 | 120 | 4 mins
4th Point |  | 16.1 | 120 | 5 mins
Door Guide Bracket |  | 16.1 | 120 | 10 mins
Plinth (Hidden) |  | 16.1 | 120 | 10 mins both sides
Plinth (Visual) |  | 16.1 | 120 | 15 mins both sides
Glass Slab Soft Close Sliding Door | 122-7755 (W/Lockset) 122-7756 (W/O Lockset) | 17.1 | 132 | 60 to 75 mins
Slider Door Frame |  | 17.1 | 132 | 25 mins
Door Track |  | 17.1 | 132 | 15 mins
Door Stops |  | 17.1 | 132 | 5 mins
Mounting Rail |  | 17.1 | 132 | 15 mins
Door Stop Arms |  | 17.1 | 132 | 5 mins
Roller Assembly |  | 17.1 | 132 | 10 mins
Track End Caps |  | 17.1 | 132 | 3 mins
Fascia Cover |  | 17.1 | 132 | 4 mins
4th Point |  | 17.1 | 132 | 5 mins
Door Guide Bracket |  | 17.1 | 132 | 10 mins
Plinth (Hidden) |  | 17.1 | 132 | 10 mins both sides
Plinth (Visual) |  | 17.1 | 132 | 15 mins both sides
Mounting Rail/Door Header |  | 17.1 | 132 | 20 mins
Door Trim/ Door Plinth |  | 17.1 | 132 | 10 mins
Double Glazed Soft close Sliding Door | 123-9615 (W/Lockset), 123-9616 (W/Pull), 123-9617 W/Pull & W/Lockset | 18.1 | 140 | 60 to 75 mins
Slider Door Frame |  | 18.1 | 140 | 25 mins
Door Track |  | 18.1 | 140 | 15 mins
Door Stops |  | 18.1 | 140 | 5 mins
Mounting Rail |  | 18.1 | 140 | 15 mins
Door Stop Arms |  | 18.1 | 140 | 5 mins
Roller Assembly |  | 18.1 | 140 | 10 mins
Track End Caps |  | 18.1 | 140 | 3 mins
Fascia Cover |  | 18.1 | 140 | 4 mins
4th Point |  | 18.1 | 140 | 5 mins
Door Guide Bracket |  | 18.1 | 140 | 5 mins
Plinth (Hidden) |  | 18.1 | 140 | 10 mins both sides
Plinth (Visual) |  | 18.1 | 140 | 15 mins both sides
Door Hardware/ Mortise Patch Kits/ DblGlz Doors |  | 19.1 | 153
ENCSP Patch/ Active | 126-1342 | 19.1 | 153 | 15 mins
ENCSP Patch/ Inactive | 126-1343 | 19.1 | 153 | 10 mins
ENCSP Patch/ W/Lockset | 126-1344 | 19.1 | 153 | 15 mins
ENCSP Patch/ W/Pull & Lockset | 126-1345 | 19.1 | 153 | 15 mins
Cylinder Patch Kit/ DblGlz
ENCSP Patch/ Pvt/ Actv | 126-1342 | 19.2 | 154 | 10 mins
ENCSP Patch/ Pvt/ Inactv | 126-1343 | 19.3 | 155 | 15 mins
ENCSP Patch/ Slider | 126-1344 | 19.4 | 156 | 15 mins
ENCSP Patch/ Slider | 126-1345 | 19.4 | 156 | 15 mins
Hook Bolt Lock Cover | 119-1802 | 19.5 | 157 | 10 mins
D-Pull Spacers for Double Glazed Doors |  | 19.7 | 159 | 10 mins
DBL-GLZ Electric Strike | Electric Strike Rutherford L6505 | 19.8 | 160 | 15 mins
WD/MTL Electric Strike |  | 19.8 | 160 | 15 mins
Roller Catch |  |  |  | 5 mins
Hook Lock hardware kit | Adams Rite 2331 Heavy Duty Deadbolt | 19.10/19.12 | 162/164 | 15 mins
Top Lock Sliding Door |  | 19.14 | 166 | 25 mins
Hex Bolt |  | 19.14 | 166 | 7 mins
Chimney |  | 19.15 | 167 | 3 mins
Top and Bottom Flush Bolt/ Glass Slab Door Leaf |  | 19.16 | 168 | 15 mins, both top and bottom
Closer - Dorma | Closer - Dorma ITS-9625 | 19.18 | 170 | 20 mins
Closer Mechanism |  | 19.18 | 170 | 6 mins
Closer cover |  | 19.18 | 170 | 3 mins
Closer Arm |  | 19.18 | 170 | 5 mins
Closer Track |  | 19.18 | 170 | 4 mins

## EFG Time Study
Part you are Removing and Replacing | Catalog # | Manual # | PDF Page # | How long it should take
126-0243
Ceiling Track | 114-2220 | 4.1 | 13 | 20 mins
Ceiling Track Flap | 123-9600 | 4.1 | 13 | 12 mins, both sides/ 15 mins for 2 Channel
Single Channel EFG |  | 4.1 | 13
Top Horizontal | 114-2254 | 4.1 | 13 | 20 mins
Bottom Horizontal | 114-2255 | 4.1 | 13 | 20 mins
Vertical | 114-2253 | 4.1 | 13 | 15 mins
Vertical Removable Clad | 127-9443 | 4.1 | 13 | 20 mins
Double Channel EFG |  | 4.1 | 13
2 Channel Top Horizontal | 122-4727 | 4.1 | 13 | 20 mins
2 Channel Bottom Horizontal | 122-4728 | 4.1 | 13 | 20 mins
2 Channel Vertical | 122-4726 | 4.1 | 13 | 15 mins
2 Channel Vertical Removable Clad | 123-9598 | 4.1 | 13 | 20 mins
Door Brace |  | 4.5 | 17 | 10 mins
Compressible Starter/ Bracket | Starter, 112-4739 Starter Bracket, 114-2202 | 4.10/ | 22 | 20 mins
Low Profile Starter |  | 4.12 | 24 | 15 mins
Adjustable Starter |  | 4.12 | 24 | 20 mins
1 & 2 Channel Joint Connection |  | 5.1 | 26
Top Horizontal In-Line Brackets | 114-2242 | 5.1 | 26 | 6 mins
Top Horizontal 90 Brackets | 114-2242 | 5.1 | 26 | 8 mins
Bottom Horizontal In-Line and 90 bracket | 114-2242 | 5.1 | 26 | 10 mins for one set
2 Channel In-Line Bracket | 123-9601 | 5.1 | 26 | 12 mins
2 Channel 90 Align Clip | 123-9601 | 5.1 | 26 | 12 mins
2 Channel Bottom and Top 90 Brackets | 123-9601 | 5.1 | 26 | 10 mins
Posts
Post 2 Way 90 Closed | 122-4732 | 6.1 | 31 | 15 mins
Post 2 Way 90 Open | 122-4732 | 6.1 | 31 | 15 mins
Inner Corner Clip | 114-7262 (Pitch) 120-3742 (Grout) | 6.1 | 31 | 5 mins
Inner Corner Post Clip | 114-3742 | 6.1 | 31 | 5 mins
Post 135 | 122-4733 | 6.1 | 31 | 15 mins
Inner Corner Post Clip 135 | 115-1075 | 6.1 | 31 | 5 mins
Post Inline 4 or 6 inch (Without Cutout) | 122-4734 | 6.1 | 31 | 15 mins
Post Inline 4 or 6 inch (With Cutout) | 122-4735 | 6.1 | 31 | 15 mins
Reveal Connector | 114-2178 | 6.1 | 31 | 5 mins
End-of-Run Low Profile | 122-4730 | 6.1 | 31 | 15 mins
End-of-Run Standard Profile | 122-4730 | 6.1 | 31 | 15 mins
End-of-Run Full Size Profile | 122-4730 | 6.1 | 31 | 15 mins
Post Variable Angle | 122-4731 | 6.1 | 31 | 20 mins
Tmount - 3-Way Centerline |  | 6.8 | 38 | 15 mins
2-Way 90 Bridge Block Bracket/ Door to Door | 123-9612 | 7.1 | 40 | 6 mins
2-Way 135 Bridge Block Bracket/ Door to Door | 123-9612 | 7.1 | 40 | 6 mins
Inline Bridge Block Bracket/ Door to Door/ 4 or 6 inch |  | 7.1 | 40 | 6 mins
2-Way 90 Bridge Block Bracket/ Door to Panel |  | 7.1 | 40 | 4 mins
2-Way 135 Bridge Block Bracket/ Door to Panel |  | 7.1 | 40 | 4 mins
Inline Bridge Block Bracket/ Door to Panel/ 4 or 6 inch |  | 7.1 | 40 | 4 mins
2mm Tape | 119-1453 | 8.1 | 55 | 25 mins
Inline Connectors/ 10mm or 12 mm | 10mm, 119-1454 or 12 mm, 119-1455 | 8.1 | 55 | 25 mins
3-Way Connectors/ Aluminum or Plastic | 119-1458 | 8.1 | 55 | 40 mins
Glazing Connectors/ 10mm or 12mm/ Plastic/Aluminum | Plastic, 119-1459/Aluminum, 119-1460 | 8.1 | 55 | 25 mins
Center Bridge | 123-9608 | 8.1 | 55 | 10 mins
2-Way 90 Corner/ Aluminum or Plastic | Aluminum, 119-1456 or Plastic, 119-1453 | 8.1 | 55 | 25 mins
Inside Corner/ Outside Corner | 123-9603 | 8.1 | 55 | 15 mins
Variable Corner | 119-1457 | 8.1 | 55 | 25 mins
Trim/ 1 Channel |  | 8.8 | 62 | 10 mins
Trim/ 2 Channel |  | 8.9 | 63 | 10 mins
Channel Caps/ 2 Channel Only | 123-9609 | 8.10/ | 64 | 10 mins
1 & 2 Channel-90 and Variable Flyby (Options) |  | 9.1 | 65
2 Channel Chamfer Flyby |  | 9.1 | 65 | 15 mins
1 Channel Chamfer Flyby |  | 9.1 | 65 | 15 mins
90 Flush Flyby |  | 9.1 | 65 | 15 mins
Glazing Connector Flyby |  | 9.1 | 65 | 25 mins
1 Channel-3-Way Flyby |  | 9.7 | 71 | 30 mins ???
1 & 2 Channel-Fixed Wall Assembly |  | 9.9 | 73 | 15 min
Double Glazed Soft close Sliding Door | 123-9615 (W/Lockset), 123-9616 (W/Pull), 123-9617 W/Pull & W/Lockset | 10.1 | 74 | 60 to 90 mins
Slider Door Frame |  | 10.1 | 74 | 30 mins
Door Track |  | 10.1 | 74 | 15 mins
Door Stops |  | 10.1 | 74 | 5 mins/ per
Mounting Rail |  | 10.1 | 74 | 15 mins
Door Stop Arms |  | 10.1 | 74 | 5 mins/ per
Roller Assembly |  | 10.1 | 74 | 10 mins
Track End Caps |  | 10.1 | 74 | 3 mins/ per
Fascia Cover |  | 10.1 | 74 | 4 mins
4th Point | 121-6966 | 10.1 | 74 | 5 mins
Door Guide Bracket |  | 10.1 | 74 | 5 mins
Turnbuckle for double doors |  | 10.13 | 86 | 15 mins
Double Glazed Door Pivot/ Frame | 123-9613, (W/Lockset), 123-9614, (W/O Lockset) | 11.1 | 89 | 45 to 60 mins
Pivot Door Frame |  | 11.1 | 89 | 30 mins
D-Pull |  | 11.1 | 89 | 10 mins
Pivot Hinge |  | 11.1 | 89 | 10 mins
Bridge Block |  | 11.1 | 89 | 10 mins
Double Glaze Door |  | 11.1 | 89 | 20 mins